## Table of Contents
Table of Contents
Click on Table Name
Wholesale Cost
Monthly Weather and Energy
Daily Weather and Energy
System Marginal Price
Monthly Generation Fuel Mix
Daily Generation Fuel Mix
Monthly Uplift
Monthly Zonal Uplift
Daily Uplift
High Uplift Days
Uneconomic CC, CT, Steam Hours
Reliability and Deviations BOR
Operating Reserve
Balancing Operating Reserve MWh
Balancing Operating Reserve $
Monthly LOC
Daily LOC
Monthly Load Weighted LMP
Annual LMP Averages
LMP Suspensions and Reruns
Annual DR Estimated Revenue
Demand Response
Incs, Decs and Up-Tos
Congestion and FTR Revenue
Balancing Congestion Facilities
Average Interface Prices
Market to Market Congestion
Regulation and Sync Reserve
Regulation Daily
Synchronized Reserve Daily
Daily Marginal Losses
Monthly Marginal Losses
Sychronized Reserve Performance
Shortage Pricing Intervals
Shortage Interval Constraints

## Wholesale Cost
Wholesale Cost
($/MWh of Load)
Click to return to Table of Contents
Year | Energy | Reliability Capacity | Transmission | Regulation | Operating Reserve | PJM Cost | Reactive | Transmission Owner Control | Synchronized Reserve | Black Start | Total
2020 | 21.65 | 9.45 | 11.03 | 0.1 | 0.12 | 0.38 | 0.47 | 0.09 | 0.03 | 0.09 | 43.41
2021 | 39.79 | 11.04 | 11.72 | 0.18 | 0.23 | 0.38 | 0.47 | 0.09 | 0.07 | 0.09 | 64.07
2022 | 80.17 | 8 | 12.5 | 0.37 | 0.37 | 0.4 | 0.48 | 0.07 | 0.11 | 0.09 | 102.56
2023 | 31.09 | 3.89 | 13.75 | 0.17 | 0.21 | 0.4 | 0.5 | 0.08 | 0.01 | 0.09 | 50.18
2024 | 42.77 | 2.58 | 13.34 | 0.27 | 0.77 | 0.4 | 0.42 | 0.09 | 0.01 | 0.07 | 60.72

## Monthly Weather and Energy
Monthly Weather and Energy
Click to return to Table of Contents
Date | Current Month HDD+CDD | Monthly Average HDD+CDD | Current Month Energy (TWh) | Monthly Average Energy (TWh)
JAN22 | 981.39 | 876.48 | 76.39 | 72.25
FEB22 | 688.82 | 729.7 | 64 | 64.13
MAR22 | 454.47 | 546.54 | 62.9 | 64.23
APR22 | 281.23 | 254.89 | 56.51 | 56.65
MAY22 | 153.71 | 143.87 | 61.06 | 60.26
JUN22 | 258.8 | 238.01 | 67.81 | 67.61
JUL22 | 403.13 | 351.66 | 77.69 | 76.34
AUG22 | 345.45 | 310.61 | 76.38 | 74.9
SEP22 | 178.06 | 159.21 | 62.66 | 63.24
OCT22 | 181.52 | 190.63 | 57.34 | 59.45
NOV22 | 408.96 | 439.83 | 60.66 | 60.53
DEC22 | 747.38 | 730.72 | 71.64 | 68.94
JAN23 | 622.48 | 880.68 | 68.24 | 72.41
FEB23 | 521.29 | 728.06 | 60.28 | 64.13
MAR23 | 510.36 | 542.86 | 63.9 | 64.17
APR23 | 210.04 | 255.95 | 55.53 | 56.65
MAY23 | 97.85 | 144.27 | 58.01 | 60.29
JUN23 | 170.64 | 238.84 | 62.69 | 67.62
JUL23 | 383.35 | 353.72 | 77.36 | 76.39
AUG23 | 305.88 | 312.01 | 73.72 | 74.96
SEP23 | 158.98 | 159.96 | 63.37 | 63.22
OCT23 | 163.71 | 190.26 | 58.61 | 59.36
NOV23 | 427.57 | 438.6 | 61.46 | 60.53
DEC23 | 541.21 | 731.39 | 66.96 | 69.05
JAN24 | 801.98 | 870.75 | 74.38 | 72.25

## Daily Weather and Energy
Daily Weather and Energy
Click to return to Table of Contents
Date | Current Day HDD+CDD | Daily Average HDD+CDD | Current Day Energy (TWh) | Daily Average Energy (TWh) | Current Day Average Temperature | Daily Average Temperature
01JAN2024 | 23.07 | 28.09 | 2.1132 | 2.3 | 36.93 | 31.93
02JAN2024 | 24.56 | 28.09 | 2.315 | 2.3 | 35.44 | 31.93
03JAN2024 | 24.56 | 28.09 | 2.3704 | 2.3 | 35.44 | 31.93
04JAN2024 | 25.09 | 28.09 | 2.3849 | 2.3 | 34.91 | 31.93
05JAN2024 | 29.41 | 28.09 | 2.4601 | 2.3 | 30.59 | 31.93
06JAN2024 | 25.88 | 28.09 | 2.3357 | 2.3 | 34.12 | 31.93
07JAN2024 | 22.82 | 28.09 | 2.2027 | 2.3 | 37.18 | 31.93
08JAN2024 | 22.59 | 28.09 | 2.3303 | 2.3 | 37.41 | 31.93
09JAN2024 | 17.73 | 28.09 | 2.3552 | 2.3 | 42.27 | 31.93
10JAN2024 | 18.49 | 28.09 | 2.2864 | 2.3 | 41.51 | 31.93
11JAN2024 | 21.14 | 28.09 | 2.3055 | 2.3 | 38.86 | 31.93
12JAN2024 | 20.19 | 28.09 | 2.3148 | 2.3 | 39.81 | 31.93
13JAN2024 | 22.85 | 28.09 | 2.1996 | 2.3 | 37.15 | 31.93
14JAN2024 | 37.89 | 28.09 | 2.4284 | 2.3 | 22.11 | 31.93
15JAN2024 | 41.93 | 28.09 | 2.7089 | 2.3 | 18.07 | 31.93
16JAN2024 | 41.24 | 28.09 | 2.8081 | 2.3 | 18.76 | 31.93
17JAN2024 | 42.66 | 28.09 | 2.9241 | 2.3 | 17.34 | 31.93
18JAN2024 | 34.07 | 28.09 | 2.7382 | 2.3 | 25.93 | 31.93
19JAN2024 | 34.76 | 28.09 | 2.6764 | 2.3 | 25.24 | 31.93
20JAN2024 | 42.13 | 28.09 | 2.7604 | 2.3 | 17.87 | 31.93
21JAN2024 | 39.28 | 28.09 | 2.694 | 2.3 | 20.72 | 31.93
22JAN2024 | 32.53 | 28.09 | 2.6989 | 2.3 | 27.47 | 31.93
23JAN2024 | 22.98 | 28.09 | 2.4575 | 2.3 | 37.02 | 31.93
24JAN2024 | 15.64 | 28.09 | 2.2635 | 2.3 | 44.36 | 31.93
25JAN2024 | 9.04 | 28.09 | 2.1141 | 2.3 | 51.54 | 31.93
26JAN2024 | 9.92 | 28.09 | 2.0446 | 2.3 | 52.19 | 31.93
27JAN2024 | 14.42 | 28.09 | 1.9658 | 2.3 | 45.58 | 31.93
28JAN2024 | 18.67 | 28.09 | 2.083 | 2.3 | 41.33 | 31.93
29JAN2024 | 22.14 | 28.09 | 2.3219 | 2.3 | 37.86 | 31.93
30JAN2024 | 22.79 | 28.09 | 2.3793 | 2.3 | 37.21 | 31.93
31JAN2024 | 21.52 | 28.09 | 2.3432 | 2.3 | 38.48 | 31.93

## System Marginal Price
Daily Difference in Day-Ahead and Real-Time System Marginal Price
($/MWh of Load)
Click to return to Table of Contents
Date | DA SMP - RT SMP
01JAN2024 | $-2.24
02JAN2024 | $-2.64
03JAN2024 | $-8.21
04JAN2024 | 1.46
05JAN2024 | 5.76
06JAN2024 | 0.58
07JAN2024 | $-1.70
08JAN2024 | 1.02
09JAN2024 | $-6.17
10JAN2024 | $-2.19
11JAN2024 | 5.99
12JAN2024 | 5.84
13JAN2024 | 20.33
14JAN2024 | 18.48
15JAN2024 | 44.96
16JAN2024 | 38.42
17JAN2024 | 51.04
18JAN2024 | 1.3
19JAN2024 | 6.58
20JAN2024 | 3.67
21JAN2024 | $-0.10
22JAN2024 | $-8.38
23JAN2024 | 2.63
24JAN2024 | $-0.77
25JAN2024 | $-4.37
26JAN2024 | 2.08
27JAN2024 | 3.17
28JAN2024 | 1
29JAN2024 | $-11.49
30JAN2024 | $-5.30
31JAN2024 | 4.3

## Monthly Generation Fuel Mix
Monthly Generation Fuel Mix
(MWh)
Click to return to Table of Contents
Date | COAL | FLYWHEEL | GAS | HYDRO | MULTIPLE FUELS | NUCLEAR | OIL | OTHER | OTHER RENEWABLES | SOLAR | STORAGE | WIND | Total
01JAN2022 | 22096106.4 | 0 | 26934706.2 | 1289801.1 | 608269.3 | 25091532.1 | 336650.6 | 67572.1 | 459303.8 | 335244.8 | 0 | 3092767.5 | 80311953.9
01FEB2022 | 16247378.2 | 0 | 23829408.5 | 1320139.5 | 314419.1 | 21783000.7 | 199016 | 82659.3 | 397734.2 | 432938.9 | 0 | 3303952 | 67910646.4
01MAR2022 | 12391654.9 | 0 | 25773319.2 | 1673091.7 | 66041.2 | 22484823.9 | 189278.3 | 94782.6 | 408892.2 | 586966.3 | 0 | 3452910.6 | 67121760.9
01APR2022 | 11928682.9 | 0 | 20477478.5 | 1402573.8 | 192782.4 | 19462774 | 168845.7 | 130342.5 | 420908.5 | 718934.1 | 0 | 3379448.3 | 58282770.7
01MAY2022 | 12076693 | 0 | 23444271.5 | 1566417.3 | 252351.8 | 22698734.9 | 104098.6 | 88464.7 | 472314.7 | 745154 | 0 | 2754654.8 | 64203155.3
01JUN2022 | 13685809.6 | 0 | 30056761.6 | 1465916.8 | 358750.4 | 23232104.8 | 177172.2 | 89179 | 466858.9 | 865655.7 | 0 | 1911077.7 | 72309286.7
01JUL2022 | 17052242.8 | 0 | 36302866.9 | 1360840 | 610371.7 | 24117345.7 | 243286.8 | 104468.1 | 503862.6 | 771787.9 | 0 | 1568729.1 | 82635801.6
01AUG2022 | 17485730 | 0 | 35827457.9 | 1421843.7 | 495394.7 | 23726492.4 | 274219 | 191607.9 | 498193.8 | 765285.7 | 0 | 1335724.7 | 82021949.8
01SEP2022 | 10870516.5 | 0 | 30174632.6 | 1184450.6 | 275524.8 | 22209898.1 | 158327.7 | 139062.7 | 429092.5 | 677478.1 | 0 | 1709928 | 67828911.6
01OCT2022 | 7699168.4 | 0 | 26657631.5 | 783787.3 | 246213 | 20674823.5 | 143755.8 | 148769.3 | 432503 | 524646.5 | 0 | 3011020 | 60322318.3
01NOV2022 | 9904347 | 0 | 24945972.6 | 1068501.4 | 315264 | 22113890.9 | 151691.9 | 116870.8 | 432373.3 | 420124.6 | 0 | 3569110.3 | 63038146.8
01DEC2022 | 15950358.8 | 0 | 27831147.4 | 1465030 | 328253.2 | 24517964.8 | 653693.7 | 127096.8 | 475959.6 | 311577.3 | 0 | 3113889.6 | 74774971.2
01JAN2023 | 10977371 | 0 | 30436566.8 | 1572855.5 | 150051.2 | 24512234.5 | 186011.5 | 281888.4 | 431908.1 | 324008 | 0 | 2942137.6 | 71815032.6
01FEB2023 | 9309541 | 0 | 27231164 | 1164131 | 114850 | 21442584 | 194771 | 53901 | 375905 | 482879 | 0 | 3477932 | 63847658
01MAR2023 | 10328020 | 0 | 29041912 | 1328819 | 63734 | 22010003 | 235151 | . | 426604 | 760638 | 0 | 3647419 | 67842300
01APR2023 | 8665803 | 0 | 23451828 | 1158282 | 272148 | 20094334 | 209909 | . | 401803 | 861377 | 0 | 2863473 | 57978957
01MAY2023 | 7479791 | 0 | 26083118 | 1361315 | 387790 | 22264117 | 295883 | . | 463135 | 994550 | 7 | 2174829 | 61504535
01JUN2023 | 8636595 | 0 | 31546914 | 1205666 | 399217 | 23467135 | 246157 | . | 462046 | 1013308 | 183 | 1762604 | 68739825
01JUL2023 | 14351713 | 0 | 39505956 | 1563237 | 750243 | 24131711 | 372749 | . | 440113 | 1142976 | 0 | 1110364 | 83369062
01AUG2023 | 13779857 | 0 | 37345688 | 1538111 | 662632 | 23909525 | 268971 | . | 466038 | 1040919 | 0 | 1553830 | 80565571
01SEP2023 | 9813493 | 0 | 31863518 | 1231085 | 508916 | 22680741 | 228611 | . | 397549 | 923233 | 0 | 1307310 | 68954456
01OCT2023 | 7533619 | 0 | 25957413 | 852402 | 754440 | 21841412 | 197416 | . | 412299 | 848661 | 0 | 2654021 | 61051683
01NOV2023 | 9036621 | 0 | 27200160 | 982961 | 476658 | 22700537 | 93795 | . | 424408 | 703973 | 481 | 3123310 | 64742904
01DEC2023 | 10795016 | 0 | 30035998 | 1485870 | 304527 | 24223992 | 177632 | . | 477930 | 499044 | 2240 | 2835646 | 70837895
01JAN2024 | 15744159 | 0 | 32212735 | 1748274 | 312310 | 24747592 | 290586 | . | 467623 | 526476 | 2282 | 3086186 | 79138223

## Daily Generation Fuel Mix
Daily Generation Fuel Mix
(MWh)
Click to return to Table of Contents
Date | COAL | FLYWHEEL | GAS | HYDRO | MULTIPLE FUELS | NUCLEAR | OIL | OTHER | OTHER RENEWABLES | SOLAR | STORAGE | WIND | Total
01JAN2024 | 345181 | 0 | 969560 | 53587 | 8551 | 798875 | 5259 | . | 16473 | 9611 | 113 | 60743 | 2267953
02JAN2024 | 366710 | 0 | 1029528 | 60329 | 8528 | 780696 | 5254 | . | 16653 | 21674 | 88 | 128404 | 2417864
03JAN2024 | 414799 | 0 | 1114291 | 57465 | 8580 | 780480 | 10492 | . | 16337 | 22460 | 79 | 43929 | 2468912
04JAN2024 | 430894 | 0 | 1140686 | 63227 | 11754 | 780217 | 5284 | . | 16748 | 13974 | 74 | 38835 | 2501693
05JAN2024 | 451271 | 0 | 1144218 | 56183 | 12790 | 782528 | 5366 | . | 16236 | 27529 | 60 | 41000 | 2537181
06JAN2024 | 424508 | 0 | 1082119 | 42968 | 8508 | 800053 | 5293 | . | 16185 | 3028 | 69 | 34192 | 2416923
07JAN2024 | 383374 | 0 | 989488 | 43363 | 7386 | 806400 | 5278 | . | 15718 | 15823 | 72 | 76466 | 2343368
08JAN2024 | 412357 | 0 | 1025917 | 55165 | 7629 | 807154 | 5298 | . | 15092 | 23753 | 74 | 100032 | 2452471
09JAN2024 | 408291 | 0 | 983546 | 57311 | 6855 | 805169 | 6275 | . | 14128 | 1857 | 58 | 187834 | 2471324
10JAN2024 | 459296 | 0 | 927923 | 53157 | 4890 | 780943 | 5253 | . | 14042 | 17978 | 66 | 172131 | 2435679
11JAN2024 | 497148 | 0 | 964070 | 59506 | 4261 | 781899 | 5336 | . | 13598 | 26344 | 84 | 118140 | 2470386
12JAN2024 | 499032 | 0 | 918843 | 53256 | 4218 | 801059 | 5665 | . | 13271 | 14576 | 99 | 177132 | 2487151
13JAN2024 | 515241 | 0 | 799242 | 52435 | 1184 | 807341 | 4196 | . | 13362 | 22807 | 68 | 216976 | 2432852
14JAN2024 | 679859 | 0 | 885817 | 51372 | 17415 | 810820 | 12902 | . | 14576 | 28739 | 62 | 154383 | 2655945
15JAN2024 | 812765 | 0 | 1136095 | 58415 | 25684 | 809626 | 20208 | . | 14209 | 11908 | 88 | 43222 | 2932220
16JAN2024 | 799136 | 0 | 1126855 | 69588 | 27640 | 809325 | 19708 | . | 13687 | 8946 | 55 | 138270 | 3013210
17JAN2024 | 809565 | 0 | 1204290 | 75467 | 15888 | 811094 | 41366 | . | 13501 | 28707 | 40 | 159234 | 3159152
18JAN2024 | 796306 | 0 | 1120874 | 56907 | 14150 | 809892 | 16377 | . | 14357 | 18712 | 81 | 47238 | 2894894
19JAN2024 | 750843 | 0 | 1003567 | 54151 | 13706 | 807771 | 7802 | . | 14041 | 10126 | 61 | 150793 | 2812861
20JAN2024 | 754598 | 0 | 1092499 | 69093 | 15725 | 809025 | 11455 | . | 14728 | 22187 | 113 | 117272 | 2906695
21JAN2024 | 693017 | 0 | 1068164 | 57084 | 15936 | 808224 | 7076 | . | 15442 | 30471 | 62 | 103739 | 2799215
22JAN2024 | 654856 | 0 | 1076588 | 61343 | 14711 | 807544 | 19432 | . | 14476 | 29007 | 71 | 139145 | 2817173
23JAN2024 | 511157 | 0 | 1119105 | 48177 | 12274 | 805871 | 6966 | . | 14748 | 9688 | 73 | 51363 | 2579422
24JAN2024 | 416316 | 0 | 1074766 | 51331 | 3991 | 802071 | 7793 | . | 15413 | 12917 | 58 | 55423 | 2440079
25JAN2024 | 384271 | 0 | 1028036 | 51163 | 6251 | 800297 | 5266 | . | 13875 | 6250 | 70 | 43234 | 2338713
26JAN2024 | 322336 | 0 | 974877 | 50630 | 5778 | 800614 | 5650 | . | 15741 | 14953 | 83 | 58786 | 2249448
27JAN2024 | 315697 | 0 | 909954 | 46417 | 4607 | 804207 | 5047 | . | 15752 | 15338 | 53 | 51181 | 2168253
28JAN2024 | 316686 | 0 | 928719 | 51427 | 5151 | 801281 | 4982 | . | 15949 | 8371 | 78 | 143716 | 2276360
29JAN2024 | 347772 | 0 | 1094697 | 66209 | 5485 | 789423 | 5059 | . | 16119 | 20383 | 60 | 84216 | 2429423
30JAN2024 | 378114 | 0 | 1140856 | 61668 | 6351 | 773056 | 13740 | . | 16474 | 18396 | 79 | 86998 | 2495732
31JAN2024 | 392763 | 0 | 1137545 | 59880 | 6433 | 774637 | 5508 | . | 16692 | 9963 | 91 | 62159 | 2465671

## Monthly Uplift
Monthly Uplift
Click to return to Table of Contents
Date | Day-Ahead Operating Reserve ($ Millions) | Balancing Operating Reserve ($ Millions) | Reactive ($ Millions) | Blackstart ($ Millions) | Lost Opportunity Cost ($ Millions) | Total Uplift ($ Millions) | Day-Ahead Operating Reserve ($/MWh) | Balancing Operating Reserve ($/MWh) | Reactive ($/MWh) | Blackstart ($/MWh) | Lost Opportunity Cost ($/MWh) | Total Uplift ($/MWh)
JAN22 | 0.71 | 10.22 | 0.01 | 0 | 3.73 | 14.66 | 0.01 | 0.13 | 0 | 0 | 0.05 | 0.19
FEB22 | 0.48 | 3.25 | 0 | 0.05 | 1.79 | 5.52 | 0.01 | 0.05 | 0 | 0 | 0.03 | 0.09
MAR22 | 0.52 | 6.4 | 0.23 | 0.05 | 0.51 | 7.65 | 0.01 | 0.1 | 0 | 0 | 0.01 | 0.12
APR22 | 0.58 | 12.01 | 0 | 0.08 | 1.36 | 13.95 | 0.01 | 0.21 | 0 | 0 | 0.02 | 0.25
MAY22 | 2.32 | 10.74 | 0.75 | 0.11 | 1.08 | 14.9 | 0.04 | 0.18 | 0.01 | 0 | 0.02 | 0.24
JUN22 | 4.15 | 13.84 | 0.01 | 0.01 | 5.56 | 23.55 | 0.06 | 0.2 | 0 | 0 | 0.08 | 0.35
JUL22 | 11.03 | 20.24 | 0 | 0 | 4.75 | 36.02 | 0.14 | 0.26 | 0 | 0 | 0.06 | 0.46
AUG22 | 8.3 | 26.61 | 0.23 | 0 | 5 | 40.13 | 0.11 | 0.35 | 0 | 0 | 0.07 | 0.53
SEP22 | 7.19 | 11.55 | 0.01 | 0 | 1.67 | 20.42 | 0.11 | 0.18 | 0 | 0 | 0.03 | 0.33
OCT22 | 0.32 | 8.81 | 0.09 | 0.06 | 4.23 | 13.45 | 0.01 | 0.15 | 0 | 0 | 0.07 | 0.23
NOV22 | 1.23 | 11.92 | 0 | 0.06 | 1.25 | 14.41 | 0.02 | 0.2 | 0 | 0 | 0.02 | 0.24
DEC22 | 21.97 | 47.42 | 0.19 | 0 | 9.98 | 79.56 | 0.31 | 0.66 | 0 | 0 | 0.14 | 1.11
JAN23 | 1.68 | 4.01 | 0 | 0.01 | 1.91 | 7.6 | 0.02 | 0.06 | 0 | 0 | 0.03 | 0.11
FEB23 | 1.04 | 3.5 | 0 | 0.04 | 1.02 | 5.56 | 0.02 | 0.06 | 0 | 0 | 0.02 | 0.09
MAR23 | 1.32 | 4.29 | 0 | 0.06 | 0.67 | 6.28 | 0.02 | 0.07 | 0 | 0 | 0.01 | 0.1
APR23 | 2.01 | 10.69 | 0.38 | 0.05 | 1.47 | 14.55 | 0.04 | 0.19 | 0.01 | 0 | 0.03 | 0.26
MAY23 | 0.41 | 9.46 | 0 | 0.03 | 1.48 | 11.36 | 0.01 | 0.16 | 0 | 0 | 0.03 | 0.2
JUN23 | 1.77 | 5.68 | 0 | 0.01 | 1.44 | 8.89 | 0.03 | 0.09 | 0 | 0 | 0.02 | 0.14
JUL23 | 10.61 | 8.67 | 0 | 0.02 | 4.39 | 23.67 | 0.14 | 0.11 | 0 | 0 | 0.06 | 0.31
AUG23 | 12 | 5.15 | 0 | 0 | 2.26 | 19.41 | 0.16 | 0.07 | 0 | 0 | 0.03 | 0.26
SEP23 | 11.92 | 7.29 | 0.12 | 0 | 2.44 | 21.76 | 0.19 | 0.11 | 0 | 0 | 0.04 | 0.34
OCT23 | 2.84 | 12.23 | 0.11 | 0.02 | 1.54 | 16.73 | 0.05 | 0.21 | 0 | 0 | 0.03 | 0.29
NOV23 | 3.65 | 11.22 | 0 | 0.01 | 1.11 | 15.99 | 0.06 | 0.18 | 0 | 0 | 0.02 | 0.26
DEC23 | 0.45 | 5.34 | 0 | 0 | 1.96 | 7.75 | 0.01 | 0.08 | 0 | 0 | 0.03 | 0.12
JAN24 | 32.99 | 22.69 | 0.89 | 0 | 1.06 | 57.64 | 0.44 | 0.31 | 0.01 | 0 | 0.01 | 0.77

## Monthly Zonal Uplift
Monthly Zonal Uplift
($ Millions)
Click to return to Table of Contents
Date | Zone | Day-Ahead Operating Reserve | Balancing Operating Reserve | Reactive | Blackstart | Lost Opportunity Cost | Total Uplift
01JAN2024 | AECO | 0.02 | 0.24 | 0.77 | 0 | 0.09 | 1.12
01JAN2024 | AEP | 1.95 | 3.36 | 0 | 0 | 0.17 | 5.47
01JAN2024 | APS | 0 | 0.42 | 0 | 0 | 0.05 | 0.48
01JAN2024 | ATSI | 0 | 0.44 | 0 | 0 | 0.04 | 0.48
01JAN2024 | BGE | 1.08 | 1.15 | 0 | 0 | 0 | 2.23
01JAN2024 | COMED | 0.04 | 0.25 | 0 | 0 | 0.1 | 0.39
01JAN2024 | DAY | 0 | 0.34 | 0 | 0 | 0.01 | 0.36
01JAN2024 | DEOK | 0 | 0.36 | 0 | 0 | 0.14 | 0.5
01JAN2024 | DOM | 2.11 | 7.91 | 0 | 0 | 0.11 | 10.14
01JAN2024 | DPL | 0.56 | 1.92 | 0.12 | 0 | 0.05 | 2.66
01JAN2024 | DUQ | 0.06 | 0.25 | 0 | 0 | 0 | 0.31
01JAN2024 | EKPC | 0 | 1.28 | 0 | 0 | 0.11 | 1.39
01JAN2024 | JCPL | 0 | 0.19 | 0 | 0 | 0 | 0.19
01JAN2024 | METED | 0.04 | 0.02 | 0 | 0 | 0.01 | 0.07
01JAN2024 | PECO | 1.95 | 0.98 | 0 | 0 | 0 | 2.94
01JAN2024 | PENELEC | 0.02 | 0.29 | 0 | 0 | 0.07 | 0.39
01JAN2024 | PEPCO | 19.12 | 1.11 | 0 | 0 | 0.09 | 20.32
01JAN2024 | PPL | 5.88 | 2.05 | 0 | 0 | 0.01 | 7.94
01JAN2024 | PSEG | 0.15 | 0.13 | 0 | 0 | 0 | 0.28

## Daily Uplift
Daily Uplift
($ Millions)
Click to return to Table of Contents
Date | Day-Ahead Operating Reserve | Balancing Operating Reserve | Reactive | Blackstart | Lost Opportunity Cost | Total Uplift
01JAN2024 | 0 | 0.06 | 0 | 0 | 0 | 0.06
02JAN2024 | 0.01 | 0.06 | 0 | 0 | 0 | 0.07
03JAN2024 | 0.02 | 0.57 | 0 | 0 | 0 | 0.6
04JAN2024 | 0 | 0.48 | 0 | 0 | 0.01 | 0.49
05JAN2024 | 0.01 | 0.3 | 0 | 0 | 0.01 | 0.32
06JAN2024 | 0 | 0.02 | 0 | 0 | 0 | 0.02
07JAN2024 | 0 | 0.02 | 0 | 0 | 0 | 0.02
08JAN2024 | 0 | 0.12 | 0 | 0 | 0.01 | 0.13
09JAN2024 | 0.02 | 0.21 | 0 | 0 | 0.03 | 0.26
10JAN2024 | 0 | 0.32 | 0 | 0 | 0.01 | 0.33
11JAN2024 | 0.01 | 0.05 | 0 | 0 | 0 | 0.06
12JAN2024 | 0.02 | 0.04 | 0 | 0 | 0.01 | 0.07
13JAN2024 | 0.04 | 3.12 | 0 | 0 | 0 | 3.16
14JAN2024 | 3.14 | 1.56 | 0 | 0 | 0 | 4.7
15JAN2024 | 14.28 | 6.02 | 0 | 0 | 0.01 | 20.3
16JAN2024 | 10.24 | 2.14 | 0.23 | 0 | 0.02 | 12.64
17JAN2024 | 4.2 | 1.89 | 0.52 | 0 | 0.32 | 6.94
18JAN2024 | 0.56 | 1.74 | 0.06 | 0 | 0.08 | 2.44
19JAN2024 | 0.14 | 0.13 | 0.05 | 0 | 0.04 | 0.36
20JAN2024 | 0 | 0.73 | 0 | 0 | 0.19 | 0.93
21JAN2024 | 0.28 | 0.34 | 0 | 0 | 0.02 | 0.65
22JAN2024 | 0.01 | 1.79 | 0 | 0 | 0.26 | 2.06
23JAN2024 | 0 | 0.36 | 0 | 0 | 0 | 0.36
24JAN2024 | 0 | 0.02 | 0 | 0 | 0.02 | 0.04
25JAN2024 | 0 | 0.05 | 0 | 0 | 0 | 0.05
26JAN2024 | 0 | 0.02 | 0 | 0 | 0 | 0.03
27JAN2024 | 0 | 0.01 | 0 | 0 | 0 | 0.01
28JAN2024 | 0 | 0.01 | 0 | 0 | 0 | 0.01
29JAN2024 | 0 | 0.34 | 0 | 0 | 0 | 0.34
30JAN2024 | 0 | 0.14 | 0.02 | 0 | 0 | 0.16
31JAN2024 | 0 | 0.03 | 0 | 0 | 0 | 0.03

## High Uplift Days
High Uplift Days
($ Millions)
Click to return to Table of Contents
Date | Day-Ahead Operating Reserve | Balancing Operating Reserve | Reactive | Blackstart | Lost Opportunity Cost | Total Uplift | Reason
13JAN2024 | 0.04 | 3.12 | 0 | 0 | 0 | 3.16
14JAN2024 | 3.14 | 1.56 | 0 | 0 | 0 | 4.7
15JAN2024 | 14.28 | 6.02 | 0 | 0 | 0.01 | 20.3
16JAN2024 | 10.24 | 2.14 | 0.23 | 0 | 0.02 | 12.64
17JAN2024 | 4.2 | 1.89 | 0.52 | 0 | 0.32 | 6.94
18JAN2024 | 0.56 | 1.74 | 0.06 | 0 | 0.08 | 2.44
20JAN2024 | 0 | 0.73 | 0 | 0 | 0.19 | 0.93
22JAN2024 | 0.01 | 1.79 | 0 | 0 | 0.26 | 2.06

## Uneconomic CC, CT, Steam Hours
Percent of Total CC, CT, and Steam Hours - LMP < Offer
Click to return to Table of Contents
Date | CT | CC and STEAM
JAN22 | 17% | 6%
FEB22 | 26% | 6%
MAR22 | 26% | 4%
APR22 | 18% | 5%
MAY22 | 15% | 9%
JUN22 | 11% | 9%
JUL22 | 9% | 9%
AUG22 | 10% | 7%
SEP22 | 12% | 8%
OCT22 | 20% | 5%
NOV22 | 16% | 7%
DEC22 | 18% | 10%
JAN23 | 19% | 7%
FEB23 | 30% | 8%
MAR23 | 19% | 7%
APR23 | 14% | 5%
MAY23 | 14% | 6%
JUN23 | 7% | 6%
JUL23 | 5% | 8%
AUG23 | 4% | 8%
SEP23 | 8% | 8%
OCT23 | 12% | 6%
NOV23 | 12% | 5%
DEC23 | 9% | 5%
JAN24 | 13% | 8%

## Reliability and Deviations BOR
Reliability and Deviations Balancing Operating Reserve Rates
($/MWh of Load)
Click to return to Table of Contents
Date | Reliability Balancing Operating Reserve Rate RTO | Reliability Balancing Operating Reserve Rate East | Reliability Balancing Operating Reserve Rate West | Deviations Balancing Operating Reserve Rate RTO | Deviations Balancing Operating Reserve Rate East | Deviations Balancing Operating Reserve Rate West
JAN2022 | 0.07 | 0.01 | 0 | 0.31 | 0.02 | 0.01
FEB2022 | 0.02 | 0 | 0 | 0.12 | 0.05 | 0
MAR2022 | 0.04 | 0.01 | 0 | 0.09 | 0.03 | 0
APR2022 | 0.05 | 0.03 | 0 | 0.32 | 0.32 | 0
MAY2022 | 0.04 | 0.02 | 0.01 | 0.25 | 0.22 | 0.01
JUN2022 | 0.06 | 0.03 | 0 | 0.47 | 0.16 | 0
JUL2022 | 0.09 | 0.02 | 0 | 0.58 | 0.21 | 0.02
AUG2022 | 0.11 | 0.02 | 0 | 0.65 | 0.29 | 0
SEP2022 | 0.05 | 0.01 | 0 | 0.3 | 0.16 | 0.01
OCT2022 | 0.05 | 0.03 | 0 | 0.25 | 0.09 | 0.03
NOV2022 | 0.08 | 0.04 | 0 | 0.18 | 0.08 | 0.01
DEC2022 | 0.25 | 0.04 | 0 | 0.83 | 0.08 | 0
JAN2023 | 0.03 | 0.01 | 0 | 0.09 | 0.02 | 0
FEB2023 | 0.03 | 0.01 | 0 | 0.05 | 0.04 | 0
MAR2023 | 0.03 | 0.03 | 0 | 0.04 | 0.02 | 0
APR2023 | 0.07 | 0.04 | 0 | 0.15 | 0.08 | 0.01
MAY2023 | 0.07 | 0.01 | 0 | 0.15 | 0.06 | 0.01
JUN2023 | 0.03 | 0 | 0 | 0.11 | 0.04 | 0.01
JUL2023 | 0.03 | 0.01 | 0 | 0.29 | 0.06 | 0
AUG2023 | 0.02 | 0.01 | 0 | 0.2 | 0.03 | 0.01
SEP2023 | 0.03 | 0.02 | 0 | 0.24 | 0.07 | 0
OCT2023 | 0.08 | 0.02 | 0 | 0.28 | 0.12 | 0.01
NOV2023 | 0.07 | 0.05 | 0.01 | 0.16 | 0.08 | 0.04
DEC2023 | 0.04 | 0.01 | 0 | 0.13 | 0.03 | 0.01
JAN2024 | 0.12 | 0.02 | 0 | 0.4 | 0.02 | 0.01

## Operating Reserve
Operating Reserve
($/MWh of Load)
Click to return to Table of Contents
Date | Day-Ahead Allocated to Entire RTO | Day-Ahead Allocated Locally | Real-Time
JAN2022 | 0.01 | 0 | 0.19
FEB2022 | 0.01 | 0 | 0.08
MAR2022 | 0.01 | 0 | 0.11
APR2022 | 0.01 | 0 | 0.24
MAY2022 | 0.04 | 0.01 | 0.2
JUN2022 | 0.06 | 0 | 0.29
JUL2022 | 0.14 | 0 | 0.33
AUG2022 | 0.11 | 0 | 0.42
SEP2022 | 0.11 | 0 | 0.22
OCT2022 | 0.01 | 0 | 0.29
NOV2022 | 0.02 | 0 | 0.24
DEC2022 | 0.31 | 0 | 0.83
JAN2023 | 0.02 | 0 | 0.09
FEB2023 | 0.02 | 0 | 0.07
MAR2023 | 0.02 | 0 | 0.08
APR2023 | 0.04 | 0.01 | 0.22
MAY2023 | 0.01 | 0 | 0.19
JUN2023 | 0.03 | 0 | 0.11
JUL2023 | 0.14 | 0 | 0.17
AUG2023 | 0.16 | 0 | 0.1
SEP2023 | 0.19 | 0 | 0.15
OCT2023 | 0.05 | 0 | 0.24
NOV2023 | 0.06 | 0 | 0.2
DEC2023 | 0.01 | 0 | 0.11
JAN2024 | 0.44 | 0 | 0.32

## Balancing Operating Reserve MWh
Balancing Operating Reserve MWh by Region and Reason
Click to return to Table of Contents
Date | RTO | East | West | Reliability Analysis Reliability | Reliability Analysis Deviation | Real-Time Reliability | Real-Time Deviation | Total
01JAN2024 | 3262.93 | 2802.44 | . | . | . | 3210.41 | 2854.96 | 6065.37
02JAN2024 | 13947.12 | 2585.91 | . | . | . | 5608.85 | 10924.18 | 16533.02
03JAN2024 | 52810.83 | 4597.67 | . | . | . | 20593.52 | 36814.98 | 57408.5
04JAN2024 | 43397.36 | 10943.42 | . | . | . | 31261.19 | 23079.59 | 54340.78
05JAN2024 | 24131.43 | 12497.63 | . | . | . | 21026.24 | 15602.81 | 36629.06
06JAN2024 | 5829.55 | . | . | . | . | 435.72 | 5393.83 | 5829.55
07JAN2024 | 3001.66 | . | . | . | . | 2693.71 | 307.95 | 3001.66
08JAN2024 | 12562.16 | 1966.6 | . | . | . | 9285.92 | 5242.85 | 14528.76
09JAN2024 | 29854.97 | . | . | . | . | 3832.69 | 26022.28 | 29854.97
10JAN2024 | 27339.95 | 3988.39 | 757.34 | . | . | 18395.88 | 13689.8 | 32085.67
11JAN2024 | 1963.46 | . | 4910.45 | . | . | 2436.48 | 4437.43 | 6873.9
12JAN2024 | 6558.24 | 448.42 | . | . | . | 2833.36 | 4173.29 | 7006.66
13JAN2024 | 128413.12 | . | . | . | 126137.95 | 2275.17 | . | 128413.12
14JAN2024 | 96980.18 | . | 1419 | . | 3186 | 90628.65 | 4584.53 | 98399.18
15JAN2024 | 152124.66 | 10475.53 | 1574.25 | . | 105932.27 | 46113.66 | 12128.51 | 164174.44
16JAN2024 | 108424.29 | 1801.31 | . | . | 17709.6 | 27938.2 | 64577.8 | 110225.6
17JAN2024 | 103456.3 | 1172.11 | 157.62 | 25319.39 | . | 40529.37 | 38937.27 | 104786.03
18JAN2024 | 115793.93 | 176.26 | 7.86 | . | . | 16949.82 | 99028.24 | 115978.05
19JAN2024 | 9027.39 | 202.05 | . | . | . | 6011.1 | 3218.34 | 9229.44
20JAN2024 | 18570.43 | . | . | . | . | 14656.74 | 3913.69 | 18570.43
21JAN2024 | 15890.79 | . | . | . | . | 7139.6 | 8751.18 | 15890.79
22JAN2024 | 38408.62 | 4867.24 | . | . | 6801.15 | 29433.84 | 7040.87 | 43275.86
23JAN2024 | 52493.18 | 2705.86 | . | . | . | 8910.67 | 46288.38 | 55199.05
24JAN2024 | 1539.79 | 160.34 | . | . | . | 1563.81 | 136.32 | 1700.13
25JAN2024 | 6309.59 | 4254.76 | . | . | . | 3568.02 | 6996.33 | 10564.35
26JAN2024 | 11720.86 | . | . | . | . | 1895.17 | 9825.69 | 11720.86
27JAN2024 | 1260.04 | . | . | . | . | 1167.2 | 92.84 | 1260.04
28JAN2024 | 1013.25 | . | . | . | . | 405 | 608.25 | 1013.25
29JAN2024 | 37831.08 | . | 76.18 | . | . | 8018.75 | 29888.52 | 37907.27
30JAN2024 | 11086.5 | . | 1365.39 | . | . | 4040.28 | 8411.62 | 12451.9
31JAN2024 | 4085.95 | . | 2511.72 | . | . | 3471.33 | 3126.34 | 6597.68

## Balancing Operating Reserve $
Balancing Operating Reserve $ by Region and Reason
Click to return to Table of Contents
Date | RTO | East | West | Reliability Analysis Reliability | Reliability Analysis Deviation | Real-Time Reliability | Real-Time Deviation | Total
01JAN2024 | 22970.51 | 41450.85 | . | . | . | 27048.87 | 37372.49 | 64421.36
02JAN2024 | 49476.7 | 6950.38 | . | . | . | 32672.37 | 23754.71 | 56427.08
03JAN2024 | 526939.15 | 42347.83 | . | . | . | 221171.32 | 348115.66 | 569286.98
04JAN2024 | 450998.56 | 31503.4 | . | . | . | 367154.71 | 115347.25 | 482501.96
05JAN2024 | 189037.45 | 114103.28 | . | . | . | 251699.96 | 51440.77 | 303140.73
06JAN2024 | 17051.29 | . | . | . | . | 2222.54 | 14828.75 | 17051.29
07JAN2024 | 22132.26 | . | . | . | . | 21137.64 | 994.62 | 22132.26
08JAN2024 | 113630.04 | 9280.17 | . | . | . | 99134.89 | 23775.32 | 122910.21
09JAN2024 | 210690.07 | . | . | . | . | 34101.09 | 176588.98 | 210690.07
10JAN2024 | 294911.5 | 21434.96 | 3418.4 | . | . | 181570.85 | 138194.01 | 319764.86
11JAN2024 | 11143.31 | . | 43567.42 | . | . | 20173.18 | 34537.55 | 54710.73
12JAN2024 | 29740 | 7469.94 | . | . | . | 17749.79 | 19460.15 | 37209.94
13JAN2024 | 3120939.83 | . | . | . | 3015227.71 | 105712.12 | . | 3120939.83
14JAN2024 | 1500350.39 | . | 56683.63 | . | 22810.21 | 1458779.31 | 75444.5 | 1557034.02
15JAN2024 | 5558452.17 | 434699.55 | 30736.62 | . | 4554187.67 | 1258153.94 | 211546.73 | 6023888.34
16JAN2024 | 2091141.1 | 51769.47 | . | . | 325093.49 | 1295647.06 | 522170.02 | 2142910.57
17JAN2024 | 1852302.2 | 29381.43 | 5620.2 | 830861.6 | . | 898088.81 | 158353.42 | 1887303.83
18JAN2024 | 1735857.31 | 1717.39 | 386.83 | . | . | 644446.03 | 1093515.5 | 1737961.53
19JAN2024 | 126912.71 | 2402.31 | . | . | . | 114334.36 | 14980.66 | 129315.02
20JAN2024 | 729175.02 | . | . | . | . | 656395.46 | 72779.56 | 729175.02
21JAN2024 | 342083.98 | . | . | . | . | 301763.15 | 40320.83 | 342083.98
22JAN2024 | 1631555.62 | 156344.23 | . | . | 97559.43 | 1525063.21 | 165277.21 | 1787899.85
23JAN2024 | 252209.53 | 14303.06 | . | . | . | 128206.31 | 138306.28 | 266512.59
24JAN2024 | 8899.38 | 6357.37 | . | . | . | 14387.21 | 869.54 | 15256.75
25JAN2024 | 34434.22 | 13638.61 | . | . | . | 18058.43 | 30014.4 | 48072.83
26JAN2024 | 24573.86 | . | . | . | . | 14467.32 | 10106.54 | 24573.86
27JAN2024 | 5845.85 | . | . | . | . | 5360.7 | 485.15 | 5845.85
28JAN2024 | 1027.77 | . | . | . | . | 0 | 1027.77 | 1027.77
29JAN2024 | 341423.97 | . | 724.08 | . | . | 155254.39 | 186893.66 | 342148.05
30JAN2024 | 131691.87 | . | 6406.45 | . | . | 113526.61 | 24571.71 | 138098.32
31JAN2024 | 13979.01 | . | 19282.31 | . | . | 29752.99 | 3508.33 | 33261.32

## Monthly LOC
Monthly Lost Oppotunity Cost
Click to return to Table of Contents
Date | MWh Reduced Wind (MWh) | Lost Oppotunity Cost Wind ($) | Lost Opportunity Cost PJM Total ($)
01JAN2022 | 22 | 1711 | 3725800
01FEB2022 | 451 | 26649 | 1789923
01MAR2022 | 0 | 0 | 505404
01APR2022 | 121 | 8567 | 1362377
01MAY2022 | 463 | 24696 | 1082256
01JUN2022 | 252 | 122357 | 5558151
01JUL2022 | 0 | 2 | 4750042
01AUG2022 | 2382 | 272050 | 4997078
01SEP2022 | 751 | 62645 | 1668093
01OCT2022 | 12854 | 1192941 | 4228835
01NOV2022 | 2895 | 194084 | 1253492
01DEC2022 | 6611 | 736683 | 9977555
01JAN2023 | 0 | 0 | 1911830
01FEB2023 | 8439 | 425102 | 1019322
01MAR2023 | 41 | 5721 | 674534
01APR2023 | 2376 | 77927 | 1466999
01MAY2023 | 16 | 832 | 1480768
01JUN2023 | 0 | 13 | 1438811
01JUL2023 | 0 | 0 | 4390384
01AUG2023 | 0 | 0 | 2263692
01SEP2023 | 88 | 6350 | 2435521
01OCT2023 | 1865 | 38222 | 1544427
01NOV2023 | 1894 | 60488 | 1113741
01DEC2023 | 148 | 1606 | 1961962
01JAN2024 | 2241 | 101263 | 1062364

## Daily LOC
Daily Lost Oppotunity Cost
Click to return to Table of Contents
Date | Lost Oppotunity Cost Wind ($) | Lost Opportunity Cost PJM Total ($)
02JAN2024 | 0 | 1094
03JAN2024 | 0 | 1464
04JAN2024 | 0 | 7051
05JAN2024 | 0 | 5702
08JAN2024 | 9017 | 9017
09JAN2024 | 28813 | 28813
10JAN2024 | 11828 | 11828
11JAN2024 | 0 | 4110
12JAN2024 | 682 | 7705
13JAN2024 | 1042 | 1082
14JAN2024 | 1027 | 3721
15JAN2024 | 0 | 5099
16JAN2024 | 0 | 19245
17JAN2024 | 279 | 324520
18JAN2024 | 0 | 82397
19JAN2024 | 30361 | 37519
20JAN2024 | 18 | 193781
21JAN2024 | 4987 | 23308
22JAN2024 | 11369 | 264488
23JAN2024 | 0 | 3743
24JAN2024 | 0 | 21344
25JAN2024 | 0 | 1945
26JAN2024 | 1842 | 1842
29JAN2024 | 0 | 799
30JAN2024 | 0 | 342
31JAN2024 | 0 | 404

## Monthly Load Weighted LMP
Monthly Load Weighted LMP
Click to return to Table of Contents
Date | Load Weighted LMP ($/MWh)
JAN2022 | 69.1
FEB2022 | 46.8
MAR2022 | 43.6
APR2022 | 63.9
MAY2022 | 83.2
JUN2022 | 97.9
JUL2022 | 92.5
AUG2022 | 113.8
SEP2022 | 78.3
OCT2022 | 55.9
NOV2022 | 52.9
DEC2022 | 142.2
JAN2023 | 35.8
FEB2023 | 26
MAR2023 | 28.4
APR2023 | 29.3
MAY2023 | 28.4
JUN2023 | 27.3
JUL2023 | 37.2
AUG2023 | 31.3
SEP2023 | 31.6
OCT2023 | 34.8
NOV2023 | 33
DEC2023 | 28
JAN2024 | 42.8

## Annual LMP Averages
Annual Fuel Cost Adjusted and Load Weighted LMP
Click to return to Table of Contents
Year | Fuel Cost Adjusted LMP ($/MWh) | Load Weighted LMP ($/MWh)
2015 | 28.33 | 36.25
2016 | 26.95 | 29.27
2017 | 31.56 | 31.06
2018 | 33.66 | 37.83
2019 | 31.46 | 27.15
2020 | 32.4 | 21.65
2021 | 32.14 | 39.79
2022 | 35.93 | 80.17
2023 | 45.04 | 31.09
2024 | 23.7 | 42.77
The 2024 value is through the last day of JAN, 2024.

## LMP Suspensions and Reruns
LMP Suspensions and Reruns
Click to return to Table of Contents
Date | Percentage of Intervals Price Posting Suspended | Percentage of Intervals Rerun Prior to Final LMP Posting Curent Calculation
JAN2022 | 0.04% | 1.56%
FEB2022 | . | 8.04%
MAR2022 | 0.01% | 3.71%
APR2022 | 0.01% | 2.45%
MAY2022 | 0.01% | 1.8%
JUN2022 | 0.45% | 1.74%
JUL2022 | 0.01% | 2.04%
AUG2022 | 0.41% | 3.39%
SEP2022 | . | 3.82%
OCT2022 | . | 4.01%
NOV2022 | 0.02% | 2.65%
DEC2022 | 0.08% | 2.35%
JAN2023 | 0.06% | 1.28%
FEB2023 | 0.04% | 1.81%
MAR2023 | 0.01% | 1.11%
APR2023 | . | 2.59%
MAY2023 | 0.01% | 1.96%
JUN2023 | . | 1.68%
JUL2023 | 0.02% | 2.48%
AUG2023 | 0.1% | 2.67%
SEP2023 | 0.06% | 1.81%
OCT2023 | 0.31% | 1.99%
NOV2023 | 0.01% | 1.64%
DEC2023 | 0.01% | 1.31%
JAN2024 | . | 1.69%

## Annual DR Estimated Revenue
Demand Response Estimated Revenue
Click to return to Table of Contents
Year | Economic Energy | Capacity | Ancillary Services | Emergency Energy | Economic Energy Incentives | Capacity Bonus Payment | Test Emergency Energy | Total
2015 | 7983488 | 807137222 | 6118299 | 480978 | 0 | . | . | 821719987
2016 | 3477215 | 644469413 | 4512812 | 0 | 0 | . | . | 652459440
2017 | 2551777 | 492872505 | 4807877 | 0 | 0 | . | . | 500232159
2018 | 2523722 | 584665539 | 8946085 | 0 | 0 | . | . | 596135346
2019 | 979266 | 481661914 | 5205768 | 1062830 | 0 | 447666 | . | 489357444
2020 | 329119 | 368224380 | 3771200 | 0 | 0 | 0 | . | 372324699
2021 | 1163113 | 536620703 | 9929451 | 0 | 0 | 0 | . | 547713268
2022 | 10893489 | 399940516 | 23353786 | 63525922 | 0 | 87808957 | . | 585522669
2023 | 3572168 | 161463366 | 13525184 | 0 | 0 | 0 | 131584 | 178692302
2024 | 2453325 | 10324912 | 2142641 | 0 | 0 | 0 | 64674 | 14985552
The 2024 value is through the last day of JAN, 2024.

## Demand Response
Demand Response
Click to return to Table of Contents
Date | Economic DR Total Load Reductions | Economic DR Total Net CSP Credits | DR as Sync. Res. MWh Cleared | DR as Sync. Res. Total Payments | DR as Regulation MWh Cleared | DR as Regulation Total Payments | Total MWs Registered in Economic DR
01JAN2022 | 3062 | 219579.71 | 79792 | 713255 | 8555 | 540011 | 2103
01FEB2022 | 1956 | 123401.53 | 66844 | 410939 | 8532 | 283262 | 2137
01MAR2022 | 1211 | 58864.97 | 103693 | 737865 | 8447 | 258462 | 2105
01APR2022 | 1877 | 131511.04 | 123912 | 1255506 | 8224 | 422769 | 2212
01MAY2022 | 3988 | 356687.72 | 144015 | 1492295 | 13653 | 633502 | 2234
01JUN2022 | 4298 | 526201.32 | 157808 | 2706886 | 10676 | 546659 | 1691
01JUL2022 | 14231 | 1759574.87 | 140464 | 1640622 | 14068 | 787164 | 2216
01AUG2022 | 15801 | 1978740.32 | 181845 | 2137391 | 18883 | 1212870 | 2298
01SEP2022 | 12685 | 1253594.13 | 152931 | 910143 | 18891 | 1029618 | 2311
01OCT2022 | 11904 | 917837.88 | 140006 | 99523 | 19009 | 820235 | 2421
01NOV2022 | 10457 | 760641.55 | 92511 | 107360 | 18530 | 506158 | 2442
01DEC2022 | 22096 | 2806853.62 | 77604 | 1146954 | 14172 | 1442192 | 2456
01JAN2023 | 6295 | 304972.31 | 103847 | 150437 | 14017 | 294337 | 2484
01FEB2023 | 124 | 10803.87 | 99889 | 67615 | 14784 | 291581 | 2433
01MAR2023 | 1327 | 67542.15 | 107236 | 51541 | 17884 | 351672 | 2489
01APR2023 | 3151 | 158954.65 | 129813 | 199537 | 19533 | 488013 | 2636
01MAY2023 | 3633 | 179655.78 | 190816 | 1024284 | 18338 | 521342 | 2609
01JUN2023 | 3036 | 160405.64 | 137212 | 157679 | 26007 | 686317 | 2285
01JUL2023 | 12113 | 1161880.56 | 144622 | 320833 | 27802 | 682856 | 2449
01AUG2023 | 1832 | 103072.91 | 133087 | 132416 | 31407 | 791218 | 2596
01SEP2023 | 2659 | 195506.39 | 208698 | 278211 | 27949 | 746558 | 2729
01OCT2023 | 11214 | 669670.92 | 315016 | 2117309 | 31093 | 1118074 | 2796
01NOV2023 | 6337 | 363410.73 | 233916 | 986252 | 28181 | 605929 | 2804
01DEC2023 | 3775 | 196291.77 | 346038 | 514695 | 32085 | 715250 | 2944
01JAN2024 | 23660 | 2453324.61 | 299469 | 609427 | . | . | 2987

## Incs, Decs and Up-Tos
Virtual and Up-To Congestion Transactions
Click to return to Table of Contents
Date | Virtual Bids Submitted | Virtaul Bids Cleared | Virtual MWh Submitted | Virtual MWh Cleared | Up-To Transactions Submitted | Up-To Transactions Cleared | Up-To MWh Submitted | Up-To MWh Cleared | Total Transactions Submitted | Total Transactions Cleared | Total MWh Submitted | Total MWh Cleared
JAN2022 | 1955318 | 508718 | 15893777 | 7001586 | 2636803 | 355965 | 21185234 | 6151542 | 4592121 | 864683 | 37079011 | 13153128
FEB2022 | 1737786 | 475257 | 14782342 | 6599706 | 3004748 | 424588 | 20911191 | 8002309 | 4742534 | 899845 | 35693533 | 14602015
MAR2022 | 1647294 | 440982 | 16282470 | 7170257 | 2985400 | 387324 | 25757517 | 8114631 | 4632694 | 828306 | 42039987 | 15284889
APR2022 | 1508609 | 387460 | 14186971 | 5574487 | 2847497 | 316721 | 26571583 | 6501343 | 4356106 | 704181 | 40758554 | 12075830
MAY2022 | 1563068 | 421097 | 15491620 | 6359134 | 2887256 | 326172 | 25363864 | 6410221 | 4450324 | 747269 | 40855485 | 12769355
JUN2022 | 1397621 | 347983 | 13817000 | 5894356 | 3168236 | 374569 | 22656802 | 7353240 | 4565857 | 722552 | 36473802 | 13247595
JUL2022 | 1521446 | 341413 | 13356800 | 5588520 | 4287467 | 464155 | 26211757 | 8190488 | 5808913 | 805568 | 39568557 | 13779008
AUG2022 | 1465696 | 371576 | 13233766 | 5952457 | 5668567 | 562781 | 35834573 | 11165039 | 7134263 | 934357 | 49068339 | 17117496
SEP2022 | 1520746 | 391842 | 13741667 | 6846914 | 5780132 | 614122 | 34118720 | 9546538 | 7300878 | 1005964 | 47860387 | 16393452
OCT2022 | 1673581 | 464139 | 14847553 | 6261710 | 5859676 | 549493 | 39548728 | 10965036 | 7533257 | 1013632 | 54396281 | 17226746
NOV2022 | 1800212 | 490460 | 16070091 | 6554011 | 5906813 | 641304 | 52802789 | 15706300 | 7707025 | 1131764 | 68872880 | 22260312
NOV2022 | 1800212 | 490460 | 16070091 | 6554011 | 5906813 | 641304 | 52802789 | 15706300 | 7707025 | 1131764 | 68872880 | 22260312
DEC2022 | 1820827 | 472288 | 15421533 | 6124227 | 6618098 | 744286 | 60439700 | 17870046 | 8438925 | 1216574 | 75861233 | 23994273
JAN2023 | 1506612 | 469504 | 13234347 | 6177575 | 6452516 | 708370 | 50705416 | 17638580 | 7959128 | 1177874 | 63939763 | 23816155
FEB2023 | 1426573 | 459343 | 13116379 | 6435646 | 7183266 | 674106 | 57444566 | 16290896 | 8609839 | 1133449 | 70560945 | 22726542
MAR2023 | 1620941 | 543059 | 14888549 | 6828384 | 9141322 | 713957 | 84211767 | 18451327 | 10762263 | 1257016 | 99100316 | 25279711
APR2023 | 1531725 | 467429 | 14760108 | 6102021 | 8580136 | 751238 | 91618263 | 21619586 | 10111861 | 1218667 | 106378371 | 27721607
MAY2023 | 1513172 | 504080 | 14428199 | 6527677 | 6646490 | 783478 | 81113241 | 20764812 | 8159662 | 1287558 | 95541440 | 27292489
JUN2023 | 1641935 | 576084 | 14204499 | 6973920 | 3120098 | 796269 | 64759627 | 18898914 | 4762033 | 1372353 | 78964126 | 25872834
JUL2023 | 1890649 | 648297 | 14888354 | 6804331 | 2781449 | 752278 | 44130187 | 13970145 | 4672098 | 1400575 | 59018541 | 20774476
AUG2023 | 1462917 | 461403 | 15090606 | 7026434 | 2247589 | 617272 | 27022883 | 9350215 | 3710506 | 1078675 | 42113489 | 16376649
SEP2023 | 1454862 | 472750 | 15228714 | 6775431 | 1758733 | 493825 | 24848425 | 9053262 | 3213595 | 966575 | 40077140 | 15828693
OCT2023 | 1696861 | 553401 | 16005180 | 7368411 | 1518449 | 431573 | 25269259 | 8042565 | 3215310 | 984974 | 41274439 | 15410976
NOV2023 | 1628657 | 480459 | 12728572 | 6302209 | 1592216 | 494184 | 27458664 | 10764119 | 3220873 | 974643 | 40187235 | 17066328
DEC2023 | 1741012 | 503558 | 14358627 | 6986956 | 1364685 | 474589 | 23183662 | 10039566 | 3105697 | 978147 | 37542290 | 17026522
JAN2024 | 1943377 | 512866 | 16504285 | 7306548 | 1654414 | 585209 | 25973188 | 10345385 | 3597791 | 1098075 | 42477473 | 17651933

## Congestion and FTR Revenue
Congestion and FTR Revenue
Click to return to Table of Contents
Date | Total FTR Revenue ($Millions) | Total FTR Target ($Millions) | FTR Payout Ratio (%) | Day-Ahead Congestion ($Millions) | Balancing Congestion ($Millions)
JAN2022 | 459.79 | 410.2 | 100% | 442.57 | -121.63
FEB2022 | 174.13 | 170.9 | 100% | 158.77 | -42.47
MAR2022 | 114.17 | 107.63 | 100% | 99.25 | -24.75
APR2022 | 161.87 | 161.64 | 100% | 145.88 | -31.29
MAY2022 | 420.98 | 386.43 | 100% | 406.07 | -52.24
JUN2022 | 220.22 | 231.54 | 95% | 202.01 | -37.64
JUL2022 | 248.73 | 220.42 | 100% | 223.57 | -33.09
AUG2022 | 373.66 | 313.73 | 100% | 355.62 | -46.13
SEP2022 | 269.12 | 260.88 | 100% | 248.49 | -28.71
OCT2022 | 179.69 | 208.05 | 86% | 161.39 | -16.65
NOV2022 | 240.48 | 242.18 | 99% | 215.39 | -28.36
DEC2022 | 392.03 | 322.37 | 100% | 364.98 | -58.57
JAN2023 | 94.62 | 77.62 | 100% | 69.25 | -7.04
FEB2023 | 128.41 | 90.81 | 100% | 102.77 | -16.41
MAR2023 | 80.73 | 59.87 | 100% | 54.1 | -27.34
APR2023 | 155.24 | 140.05 | 100% | 128.82 | -43.34
MAY2023 | 121.05 | 111.93 | 100% | 96.87 | -35.92
JUN2023 | 105.39 | 96.06 | 100% | 87.06 | -12.7
JUL2023 | 185.46 | 155.03 | 100% | 166.17 | -26.65
AUG2023 | 152.58 | 136.02 | 100% | 133.59 | -22.81
SEP2023 | 157 | 160.68 | 98% | 138.13 | -24.69
OCT2023 | 174.14 | 194.08 | 90% | 153.03 | -33.92
NOV2023 | 155.24 | 159.15 | 98% | 135.11 | -28.64
DEC2023 | 121.43 | 123.85 | 98% | 99.59 | -16.78
JAN2024 | 259.92 | 197.03 | 100% | 230.84 | -34.96

## Balancing Congestion Facilities
Balancing Congestion Facilities
Click to return to Table of Contents
Date | Facility Name | Balancing Congestion ($)
JAN2024 | AEP-DOM Interface (EHV) | -8546588
JAN2024 | Braidwood-East Frankfort 2001 345 (COMED) | -3800246
JAN2024 | Lenox-N Meshoppen 115 (PN) | -3004735
JAN2024 | APSOUTH Interface (EHV) | -2805588
JAN2024 | Meridian-Twin Branch 345 (AEP) | -1906622
JAN2024 | Carson-Chapparal (DOM C) | -1639905
JAN2024 | Chrysler-Maple 138 (MISO) | -1602689
JAN2024 | Abington-Clinch River 138 (AEP VA) | -1575190
JAN2024 | Cedar Sub-William 230 F-2206-1 (PSEG) | -1315443
JAN2024 | DOEX-Pierce 345 1 (AEP) | -976905

## Average Interface Prices
Monthly Average PJM/MISO and PJM/NYISO Interface Prices
Click to return to Table of Contents
Date | PJM's Price for MISO Real-Time | MISO's Price for PJM Real-Time | PJM's Price for MISO Day-Ahead | MISO's Price for PJM Day-Ahead | PJM's Price for NYISO Real-Time | NYISO's Price for PJM Real-Time | PJM's Price for NYISO Day-Ahead | NYISO's Price for PJM Day-Ahead
JAN2022 | 43.79 | 45.49 | 47.63 | 46.33 | 93.71 | 98.5 | 79.12 | 101.16
FEB2022 | 39.89 | 41.72 | 42.35 | 44.3 | 57.09 | 55.41 | 54.29 | 63.83
MAR2022 | 37.63 | 39.86 | 40 | 40.95 | 42.04 | 45.73 | 43.54 | 45.82
APR2022 | 56.09 | 58.65 | 58.31 | 59.87 | 55.82 | 50.4 | 58.81 | 50.1
MAY2022 | 69.85 | 71.96 | 72.18 | 74.39 | 61.34 | 63.62 | 66.21 | 58.89
JUN2022 | 85.89 | 81.23 | 83.44 | 85.9 | 74.5 | 74.23 | 69.82 | 68.3
JUL2022 | 79.74 | 83.61 | 83.71 | 84.55 | 78.79 | 84.28 | 83.14 | 82.98
AUG2022 | 89.88 | 94.62 | 90.8 | 93.05 | 98.3 | 100.68 | 92.15 | 94.87
SEP2022 | 70.17 | 72.46 | 74.28 | 76.51 | 62.25 | 66.95 | 68.04 | 70.43
OCT2022 | 49.31 | 51.57 | 50.67 | 50.95 | 47.81 | 45.8 | 48.78 | 48.11
NOV2022 | 45.33 | 44.69 | 46.97 | 47.8 | 43.35 | 40.9 | 45.58 | 41.21
DEC2022 | 93.73 | 75.53 | 68.23 | 61.64 | 116.57 | 94.81 | 87.7 | 86.24
JAN2023 | 32.8 | 33.81 | 33.46 | 34.96 | 33.45 | 34.33 | 33.56 | 36.97
FEB2023 | 22.98 | 24.56 | 25.7 | 26.58 | 26.11 | 28.29 | 31.28 | 36.83
MAR2023 | 25.66 | 25.5 | 25.67 | 26.65 | 25.19 | 25.01 | 25.86 | 26.77
APR2023 | 23.42 | 24.76 | 24.7 | 25.88 | 24.1 | 26.06 | 25.19 | 25.47
MAY2023 | 25.44 | 27.08 | 26.39 | 27.94 | 20.7 | 21.14 | 21.61 | 20.76
JUN2023 | 26.25 | 27.19 | 26.48 | 28.17 | 23.64 | 24.37 | 22.01 | 25.5
JUL2023 | 33 | 33.37 | 35.37 | 36.48 | 34.3 | 32.46 | 34.08 | 37.31
AUG2023 | 29.82 | 32.04 | 30.89 | 32.49 | 23.45 | 27.12 | 23.02 | 25.69
SEP2023 | 27.37 | 29.96 | 28.2 | 29.2 | 27.9 | 30.24 | 24.7 | 28.24
OCT2023 | 30.39 | 32.51 | 31.71 | 30.85 | 24.73 | 26.53 | 26.18 | 25.58
NOV2023 | 25.5 | 27.75 | 27.14 | 29.46 | 29.46 | 28.57 | 29.82 | 31.28
DEC2023 | 24.25 | 24.15 | 24.92 | 25.98 | 26.51 | 25.1 | 26.54 | 30.16
JAN2024 | 35.85 | 36.51 | 41.73 | 45.12 | 45.82 | 48.09 | 50.45 | 56.49

## Market to Market Congestion
PJM/MISO and PJM/NYISO Market to Market Congestion Payments
Click to return to Table of Contents
Date | Net M2M Payments from PJM to MISO ($) | Payments to MISO as Percent of Total PJM Congestion | Net M2M Payments from PJM to NYISO ($) | Payments to NYISO as Percent of Total PJM Congestion | FTR Revenue ($)
JAN2022 | $-8,827,970 | 2.2% | $-2,842,631 | 0.69% | 410202298
FEB2022 | $-6,539,248 | 3.8% | $-827,421 | 0.48% | 170901305
MAR2022 | $-14,903,430 | 13.8% | $-73,500 | 0.07% | 107630030
APR2022 | $-23,957,490 | 14.8% | $-1,077,850 | 0.67% | 161635739
MAY2022 | $-23,059,246 | 6% | $-2,380,617 | 0.62% | 386433052
JUN2022 | $-8,203,485 | 3.5% | $-9,971 | 0% | 231540036
JUL2022 | $-7,600,711 | 3.4% | $-85,615 | 0.04% | 220415075
AUG2022 | $-5,937,583 | 1.9% | $-134,279 | 0.04% | 313733668
SEP2022 | $-4,658,097 | 1.8% | 36561 | 0.01% | 260877180
OCT2022 | $-17,773,829 | 8.5% | $-44,500 | 0.02% | 208047698
NOV2022 | $-14,312,352 | 5.9% | $-36,302 | 0.01% | 242184098
DEC2022 | $-47,335,717 | 14.7% | $-6,206 | 0% | 322367124
JAN2023 | $-5,658,070 | 7.3% | 279756 | 0.36% | 77622121
FEB2023 | $-2,574,139 | 2.8% | 282401 | 0.31% | 90806423
MAR2023 | $-6,496,984 | 10.9% | $-111,170 | 0.19% | 59866477
APR2023 | $-16,199,761 | 11.6% | $-11,504 | 0.01% | 140053037
MAY2023 | $-10,394,960 | 9.3% | $-10,287 | 0.01% | 111927654
JUN2023 | $-1,730,052 | 1.8% | $-48 | 0% | 96057780
JUL2023 | $-1,727,776 | 1.1% | 2056 | 0% | 155033386
AUG2023 | $-288,916 | 0.2% | $-32,030 | 0.02% | 136020791
SEP2023 | $-2,296,208 | 1.4% | 141308 | 0.09% | 160675473
OCT2023 | $-3,268,721 | 1.7% | $-45,688 | 0.02% | 194082957
NOV2023 | $-4,989,953 | 3.1% | $-53,779 | 0.03% | 159154486
DEC2023 | $-2,765,301 | 2.2% | $-95 | 0% | 123854985
JAN2024 | $-2,208,077 | 1.1% | 85324 | 0.04% | 197028118

## Regulation and Sync Reserve
Regulation and Synchronized Reserve
Click to return to Table of Contents
Date | Synchronous Condenser ($Millions) | Synchronized Reserve ($Millions) | Synchronous Condenser (Cents/MWh load) | Synchronized Reserve (Cents/MWh load) | Regulation ($Millions)
JAN2022 | . | 7.07 | . | 9.26 | 33.95
FEB2022 | . | 2.48 | . | 3.88 | 14.31
MAR2022 | . | 5.25 | . | 8.35 | 13.05
APR2022 | . | 7.96 | . | 14.08 | 23.25
MAY2022 | . | 8.33 | . | 13.64 | 19.63
JUN2022 | . | 20.56 | . | 30.32 | 25.58
JUL2022 | . | 9.81 | . | 12.62 | 28.26
AUG2022 | . | 11.64 | . | 15.24 | 32.33
SEP2022 | . | 4.08 | . | 6.52 | 21.26
OCT2022 | . | 5.05 | . | 8.8 | 19.14
NOV2022 | . | 3.48 | . | 5.74 | 11.43
DEC2022 | . | 6.28 | . | 8.77 | 53.85
JAN2023 | . | 1.38 | . | 2.02 | 9.81
FEB2023 | . | 1.33 | . | 2.21 | 8.13
MAR2023 | . | 1.18 | . | 1.85 | 9.51
APR2023 | . | 2.85 | . | 5.13 | 11.32
MAY2023 | . | 9.01 | . | 15.54 | 12.61
JUN2023 | . | 4.43 | . | 7.06 | 11.65
JUL2023 | . | 10.76 | . | 13.91 | 12.71
AUG2023 | . | 3.3 | . | 4.48 | 11.92
SEP2023 | . | 3.22 | . | 5.08 | 12.02
OCT2023 | . | 21.37 | . | 36.47 | 15.21
NOV2023 | . | 11.53 | . | 18.75 | 9.28
DEC2023 | . | 3.18 | . | 4.75 | 9.76
JAN2024 | . | 5.04 | . | 6.78 | 20.44

## Regulation Daily
Regulation Market Daily Prices and Charges
Click to return to Table of Contents
Date | Minimum Hourly Price ($/MWh) | Average Hourly Price ($/MWh) | Maximum Hourly Price ($/MWh) | Total Daily Regulation Charges($Millions) /
01JAN2024 | 2.46 | 32.25 | 360.67 | 423986.25
02JAN2024 | 1.59 | 28.75 | 305.21 | 384061.07
03JAN2024 | 1.17 | 22.09 | 153.24 | 558312.85
04JAN2024 | 0 | 16.58 | 142.07 | 371761.07
05JAN2024 | 2.63 | 15.77 | 84.07 | 304057.6
06JAN2024 | 0.01 | 12.59 | 45.54 | 311423.42
07JAN2024 | 4.34 | 23.84 | 104.42 | 413170.33
08JAN2024 | 0.01 | 9.92 | 34.69 | 229289.16
09JAN2024 | 3.04 | 14.91 | 39.76 | 390157.79
10JAN2024 | 3.7 | 21.32 | 83.16 | 406402.98
11JAN2024 | 0.01 | 9.85 | 27.13 | 264590.75
12JAN2024 | 7.04 | 17.82 | 66.65 | 246041.46
13JAN2024 | 0.43 | 39.04 | 300.4 | 502705.45
14JAN2024 | 24.5 | 67.53 | 493.81 | 1177865.71
15JAN2024 | 0.95 | 70.73 | 123.32 | 1512225.54
16JAN2024 | 0.01 | 60.88 | 142.27 | 1359117.74
17JAN2024 | 18.71 | 66.63 | 133.8 | 1891086.52
18JAN2024 | 25.04 | 53.3 | 99.06 | 1445873.96
19JAN2024 | 7.87 | 38.78 | 97.02 | 849164.33
20JAN2024 | 0.83 | 41.34 | 118.34 | 1310328.15
21JAN2024 | 8.56 | 37.02 | 83.24 | 1304622.04
22JAN2024 | 6.88 | 49.9 | 379.12 | 1123911.02
23JAN2024 | 0 | 12.15 | 37.27 | 240338.31
24JAN2024 | 1.25 | 16.02 | 39.48 | 344629.41
25JAN2024 | 0 | 18.55 | 62.17 | 421565.2
26JAN2024 | 0 | 17.87 | 75.46 | 319202.79
27JAN2024 | 14.22 | 37.84 | 151.65 | 434774.86
28JAN2024 | 2.29 | 17.03 | 54.37 | 325632.89
29JAN2024 | 0.5 | 17.83 | 37.05 | 778264.92
30JAN2024 | 1.7 | 33.23 | 129.77 | 548523.26
31JAN2024 | 3.2 | 12.52 | 33.87 | 249034.7

## Synchronized Reserve Daily
Synchronized Reserve Market Daily Prices and Charges
Click to return to Table of Contents
Date | Minimum Hourly Price ($/MWh) | Average Hourly Price ($/MWh) | Maximum Hourly Price ($/MWh) | Total Daily Regulation Charges($Millions) /
01JAN2024 | 0 | 0.02 | 0.04 | 31663.38
02JAN2024 | 0 | 8.34 | 117.8 | 196936.07
03JAN2024 | 0 | 4.77 | 82.98 | 183418.21
04JAN2024 | 0 | 2.48 | 52.23 | 209157.67
05JAN2024 | 0 | 0.87 | 19.56 | 294083.29
06JAN2024 | 0 | 0.08 | 1.47 | 86529.38
07JAN2024 | 0 | 0.02 | 0.04 | 22039.11
08JAN2024 | 0 | 0.46 | 7.72 | 118162.79
09JAN2024 | 0 | 0.78 | 10.2 | -526.9
10JAN2024 | 0 | 1.67 | 23.76 | 92465.03
11JAN2024 | 0 | 0.11 | 2.59 | 165079.52
12JAN2024 | 0 | 0.01 | 0.02 | 15086.5
13JAN2024 | 0 | 0 | 0.01 | 51659.49
14JAN2024 | 0 | 0.01 | 0.04 | 32413.28
15JAN2024 | 0 | 1.51 | 31.16 | 646274.35
16JAN2024 | 0 | 7.38 | 141.12 | 328279.54
17JAN2024 | 0 | 0.15 | 3.24 | 869664.59
18JAN2024 | 0 | 2.86 | 36.32 | 178676.08
19JAN2024 | 0 | 13 | 251.08 | 118828.95
20JAN2024 | 0.01 | 9.12 | 64.06 | 309906
21JAN2024 | 0 | 8.31 | 83.98 | 87367.97
22JAN2024 | 0.01 | 20.98 | 417.09 | 261552.29
23JAN2024 | 0 | 0.4 | 6.79 | 138258.43
24JAN2024 | 0 | 0.4 | 8.92 | 71245.2
25JAN2024 | 0 | 0.56 | 11.92 | 22176.96
26JAN2024 | 0.01 | 2.62 | 41.38 | 58625.2
27JAN2024 | 0.01 | 0.28 | 5.93 | 74749.31
28JAN2024 | 0.01 | 1.01 | 16.74 | 33849.13
29JAN2024 | 0 | 3.43 | 24.64 | 118426.34
30JAN2024 | 0.01 | 6.44 | 44.12 | 123224.45
31JAN2024 | 0 | 0.03 | 0.04 | 100481.95

## Daily Marginal Losses
Daily Marginal Loss Summary
Click to return to Table of Contents
Date | Average Energy Price ($/MWh) | Minimum Loss Component ($/MWh) | Maximum Loss Component ($/MWh) | Minimum Loss Zone | Maximum Loss Zone | Loss Credits ($) | Loss Credits ($/MWh)
01JAN2024 | 27.28 | (1.32) | 1.01 | COMED | BGE | 566111 | 0.27
02JAN2024 | 32.05 | (4.70) | 3.12 | COMED | BGE | 557060 | 0.24
03JAN2024 | 40.96 | (7.62) | 5.8 | COMED | BGE | 997047 | 0.42
04JAN2024 | 35.51 | (1.84) | 1.93 | COMED | BGE | 973878 | 0.41
05JAN2024 | 33.86 | (4.31) | 3.61 | COMED | DPL | 871890 | 0.35
06JAN2024 | 32.38 | (3.33) | 3.01 | COMED | BGE | 1078684 | 0.46
07JAN2024 | 28.07 | (2.77) | 2.25 | COMED | BGE | 712247 | 0.32
08JAN2024 | 26.95 | (4.08) | 3.08 | COMED | DPL | 574900 | 0.25
09JAN2024 | 33.45 | (6.59) | 5.15 | COMED | DPL | 789805 | 0.34
10JAN2024 | 31.65 | (3.11) | 2.42 | COMED | DPL | 862834 | 0.38
11JAN2024 | 26.2 | (3.72) | 2.64 | COMED | DPL | 747799 | 0.32
12JAN2024 | 21.28 | (2.84) | 2.02 | COMED | DPL | 725873 | 0.31
13JAN2024 | 22.73 | (1.34) | 1.75 | COMED | DAY | 1060204 | 0.48
14JAN2024 | 44.42 | (1.50) | 2.07 | COMED | DAY | 1407935 | 0.58
15JAN2024 | 87.08 | (5.67) | 10.2 | PPL | DAY | 3455495 | 1.28
16JAN2024 | 89.14 | (8.64) | 8.89 | COMED | DAY | 4207762 | 1.5
17JAN2024 | 83.25 | (18.53) | 12.89 | COMED | DPL | 3118030 | 1.07
18JAN2024 | 63.64 | (9.46) | 9.45 | COMED | DPL | 2903214 | 1.06
19JAN2024 | 45.88 | (9.89) | 11.6 | COMED | DPL | 2114947 | 0.79
20JAN2024 | 62.88 | (6.14) | 7.17 | COMED | DPL | 2587061 | 0.94
21JAN2024 | 59.35 | (32.45) | 36.54 | COMED | DPL | 2579011 | 0.96
22JAN2024 | 65.75 | (40.69) | 34.79 | COMED | DPL | 2088369 | 0.77
23JAN2024 | 34.62 | (4.08) | 5.48 | COMED | DPL | 1898320 | 0.77
24JAN2024 | 27.29 | (1.09) | 1.89 | OVEC | DAY | 842600 | 0.37
25JAN2024 | 31.3 | (1.30) | 2.52 | PPL | DAY | 693509 | 0.33
26JAN2024 | 23.95 | (1.33) | 2.2 | OVEC | DAY | 592134 | 0.29
27JAN2024 | 19.97 | (0.95) | 2.28 | PECO | DAY | 478913 | 0.24
28JAN2024 | 20.86 | (1.24) | 1.03 | COMED | DPL | 383818 | 0.18
29JAN2024 | 38.6 | (9.13) | 6.27 | COMED | BGE | 379532 | 0.16
30JAN2024 | 34.13 | (4.07) | 2.68 | COMED | DPL | 672948 | 0.28
31JAN2024 | 24.6 | (3.01) | 2.63 | COMED | BGE | 837114 | 0.36

## Monthly Marginal Losses
Monthly Marginal Losses
Click to return to Table of Contents
Date | Loss Credits ($) | Loss Credits ($/MWh)
JAN2022 | 68104134.85 | 0.89
FEB2022 | 38546557.75 | 0.6
MAR2022 | 25638483.69 | 0.41
APR2022 | 29309509.42 | 0.52
MAY2022 | 48282039.84 | 0.79
JUN2022 | 56294833.57 | 0.83
JUL2022 | 83683325 | 1.08
AUG2022 | 88800028.1 | 1.16
SEP2022 | 54330379.88 | 0.87
OCT2022 | 32917653.86 | 0.57
NOV2022 | 34171012.1 | 0.56
DEC2022 | 81841621.69 | 1.14
JAN2023 | 25887176.02 | 0.38
FEB2023 | 21144569.31 | 0.35
MAR2023 | 18545452.43 | 0.29
APR2023 | 15210425.22 | 0.27
MAY2023 | 16519916.8 | 0.28
JUN2023 | 19165944.57 | 0.31
JUL2023 | 38068632.28 | 0.49
AUG2023 | 25796839.83 | 0.35
SEP2023 | 23437309.66 | 0.37
OCT2023 | 23150254.76 | 0.39
NOV2023 | 21245391.9 | 0.35
DEC2023 | 21365556.23 | 0.32
JAN2024 | 41759044.59 | 0.56

## Sychronized Reserve Performance
Sychronized Reserve Performance
Click to return to Table of Contents
Start Time | End Time | Generation Tier 1 Response | Generation Tier 2 Assignment | Generation Tier 2 Response | Generation Zero Response | DSR Tier 1 Response | DSR Tier 2 Assignment | DSR Tier 2 Response | DSR Zero Response
18FEB20:11:16:00 | 18FEB20:11:26:00 | 421.44 | 6.67 | 0.28 | . | 0 | . | . | .
06JUL20:21:22:00 | 06JUL20:21:32:00 | 254.4 | 68.97 | 63.81 | 4.67 | 0 | 10.98 | 10.05 | 1.75
25JUL20:16:39:00 | 25JUL20:16:50:00 | 168.72 | 49.13 | 43.02 | . | 0 | 6.29 | 13.09 | 0.11
10SEP20:00:19:00 | 10SEP20:00:29:00 | 223.78 | 92.2 | 41.48 | 6.67 | 0 | 38.24 | 43.63 | 1.17
16DEC20:16:38:00 | 16DEC20:16:48:00 | 185.05 | 79.2 | 77.14 | 9.5 | 0 | 8.74 | 8.86 | .
09MAR21:12:50:00 | 09MAR21:13:01:00 | 303.76 | 109.41 | 61.66 | 10.08 | 0 | 52.66 | 64.75 | 0.92
30APR21:20:30:00 | 30APR21:20:42:00 | 414.24 | 52.9 | 52.7 | . | 0 | 48.76 | 43.21 | 1.58
26MAY21:14:17:00 | 26MAY21:14:27:00 | 545.84 | 73.65 | 64.71 | . | 0 | 42.21 | 47.42 | 0.67
23AUG21:20:44:00 | 23AUG21:21:01:00 | 561.46 | 163.46 | 156.05 | . | 0 | 96.14 | 52.33 | 38.36
12NOV21:22:25:00 | 12NOV21:22:37:00 | 432.47 | 123.6 | 99.82 | 24 | 0 | 54.54 | 74.32 | 0.16
06APR22:15:45:00 | 06APR22:15:55:00 | 303.15 | 161.51 | 112.95 | 47.23 | 0 | 36.2 | 38.6 | 0.03
13APR22:21:25:00 | 13APR22:21:53:00 | 1025.37 | 320.37 | 338.12 | 6.07 | 0 | 89.88 | 86.21 | 4.01
16MAY22:19:32:00 | 16MAY22:19:43:00 | 593.54 | 54.04 | 19.04 | 23.28 | 0 | . | . | .
16MAY22:19:53:00 | 16MAY22:20:03:00 | 572.62 | 103.07 | 45.43 | 10.37 | 0 | . | . | .
23MAY22:21:17:00 | 23MAY22:21:32:00 | 376.89 | 185.53 | 135.17 | . | 0 | 80.01 | 63.96 | 11.9
29OCT22:06:12:00 | 29OCT22:06:24:00 | 189.14 | 333.76 | 96.45 | 180.3 | 0 | 37.82 | 56.12 | 0.06
29NOV22:21:30:00 | 29NOV22:21:47:00 | 461.63 | 482.49 | 327.64 | 119.09 | 0 | 6.77 | 8 | 0.31
23DEC22:15:14:00 | 23DEC22:15:25:00 | 449.04 | 315.59 | 388.12 | 15.88 | 0 | 12.84 | 17.85 | 0.17
23DEC22:21:17:00 | 23DEC22:23:09:00 | 4594.02 | 3027.55 | 1442.9 | 514.08 | 0 | 417.58 | 614.23 | 1.87
24DEC22:05:05:00 | 24DEC22:05:30:00 | 507.6 | 715.38 | 393.03 | 193.84 | 0 | 20.67 | 13.36 | .
24DEC22:07:23:00 | 24DEC22:07:54:00 | 447.29 | 753.56 | 209.99 | 68.2 | 0 | 106.59 | 102.9 | 9.71
24DEC22:09:23:00 | 24DEC22:10:51:00 | 1104.38 | 1435.87 | 226.78 | 275.88 | 87.18 | 173.07 | 210.03 | 2.05
05JAN23:17:43:00 | 05JAN23:17:55:00 | 289.75 | 311.78 | 212.04 | 35.9 | 0 | 30.94 | 34.02 | .
10JAN23:12:06:00 | 10JAN23:12:23:00 | 289.83 | 566.08 | 342.73 | 81.6 | 0 | 104.89 | 89.69 | 20.54
15DEC23:00:41:00 | 15DEC23:00:53:00 | 100.79 | 444.82 | 234.07 | 113.24 | 0 | 97.58 | 108.57 | 2.84
All values are converted into MWHs by multiplying MWs by the event duration

## Shortage Pricing Intervals
Shortage Pricing Intervals
Click to return to Table of Contents
Date | 5-Minute Interval | Reserve Penalty Factors | 5-Minute Interval SMP | Hourly Integrated SMP
Saturday, January 20, 2024 | 17:35 - 17:40 | MAD Primary Reserves | 347.91 | 358.15
Saturday, January 20, 2024 | 17:40 - 17:45 | RTO Primary Reserves | 878.91 | 358.15
Saturday, January 20, 2024 | 17:50 - 17:55 | RTO Primary Reserves; MAD Primary Reserves | 872.43 | 358.15
Saturday, January 20, 2024 | 17:55 - 18:00 | RTO Primary Reserves; MAD Primary Reserves | 872.43 | 358.15
Sunday, January 21, 2024 | 17:45 - 17:50 | MAD Primary Reserves | 344.74 | 123.53
Monday, January 22, 2024 | 6:45 - 6:50 | RTO Primary Reserves; MAD Primary Reserves | 1471.08 | 386.63
Monday, January 22, 2024 | 6:50 - 6:55 | RTO Primary Reserves; MAD Primary Reserves | 1102.08 | 386.63
Monday, January 22, 2024 | 6:55 - 7:00 | MAD Primary Reserves | 805.65 | 386.63
Monday, January 29, 2024 | 12:05 - 12:10 | RTO Primary Reserves | 1034.75 | 202.66
Monday, January 29, 2024 | 12:10 - 12:15 | RTO Primary Reserves | 1028.57 | 202.66

## Shortage Interval Constraints
Shortage Interval Constraints
Click to return to Table of Contents
Start Time | End Time | Monitored Facility | Contingency Facility | Transmission Constraint Penalty Factor | Shadow Price
20JAN24:17:35:00 | 20JAN24:17:40:00 | TRANSFER INTERFACE: APSOUTH | L500.Bedington-BlackOak | 2000 | -2000
20JAN24:17:35:00 | 20JAN24:17:40:00 | ETOWANDA-HILLSIDE 2002 TIE A 230 KV | L500.Hopatcong-Lackawanna.5063 | 1000 | -779.09
20JAN24:17:40:00 | 20JAN24:17:45:00 | LENOX-NMESHOPP NML 1090 B 115 KV | L230.ETowanda-Hillside.2002 [NYISO] | 2000 | -2000
20JAN24:17:40:00 | 20JAN24:17:45:00 | TRANSFER INTERFACE: AEP-DOM | L500.Bedington-BlackOak | 2000 | -2000
20JAN24:17:40:00 | 20JAN24:17:45:00 | TRANSFER INTERFACE: APSOUTH | L500.Bedington-BlackOak | 2000 | -2000
20JAN24:17:40:00 | 20JAN24:17:45:00 | ETOWANDA-HILLSIDE 2002 TIE A 230 KV | L500.Hopatcong-Lackawanna.5063 | 1000 | -1000
20JAN24:17:50:00 | 20JAN24:17:55:00 | LENOX-NMESHOPP NML 1090 B 115 KV | L230.ETowanda-Hillside.2002 [NYISO] | 2000 | -2000
20JAN24:17:50:00 | 20JAN24:17:55:00 | TRANSFER INTERFACE: APSOUTH | L500.Bedington-BlackOak | 2000 | -2000
20JAN24:17:55:00 | 20JAN24:18:00:00 | TRANSFER INTERFACE: APSOUTH | L500.Bedington-BlackOak | 2000 | -2000
20JAN24:17:55:00 | 20JAN24:18:00:00 | LENOX-NMESHOPP NML 1090 B 115 KV | L230.ETowanda-Hillside.2002 [NYISO] | 2000 | -2000
21JAN24:17:45:00 | 21JAN24:17:50:00 | TRANSFER INTERFACE: APSOUTH | L500.Bedington-BlackOak | 2000 | -1947.42
21JAN24:17:45:00 | 21JAN24:17:50:00 | 94 HAURD-11323 11323 A 138 KV | L345.Nelson-ElectricJunction.15502 | 2000 | -157.48
22JAN24:06:45:00 | 22JAN24:06:50:00 | TRANSFER INTERFACE: AEP-DOM | L500.Bedington-BlackOak | 2000 | -2000
22JAN24:06:45:00 | 22JAN24:06:50:00 | ELIMSPOR-SUNBURY A 230 KV | L230.Columbia-Montour | 2000 | -307.07
22JAN24:06:45:00 | 22JAN24:06:50:00 | CEDARCRE-SILVERUN 23030 B 230 KV | L230.Cartanza-Milford.23033 | 2000 | -2000
22JAN24:06:45:00 | 22JAN24:06:50:00 | TRANSFER INTERFACE: APSOUTH | L500.Bedington-BlackOak | 2000 | -2000
22JAN24:06:50:00 | 22JAN24:06:55:00 | TRANSFER INTERFACE: APSOUTH | L500.Bedington-BlackOak | 2000 | -2000
22JAN24:06:50:00 | 22JAN24:06:55:00 | TRANSFER INTERFACE: AEP-DOM | L500.Bedington-BlackOak | 2000 | -399.91
22JAN24:06:50:00 | 22JAN24:06:55:00 | ELIMSPOR-SUNBURY A 230 KV | L230.Columbia-Montour | 2000 | -7.48
22JAN24:06:50:00 | 22JAN24:06:55:00 | CEDARCRE-SILVERUN 23030 B 230 KV | L230.Cartanza-Milford.23033 | 2000 | -2000
22JAN24:06:55:00 | 22JAN24:07:00:00 | TRANSFER INTERFACE: APSOUTH | L500.Bedington-BlackOak | 2000 | -2000
22JAN24:06:55:00 | 22JAN24:07:00:00 | TRANSFER INTERFACE: AEP-DOM | L500.BlackOak-Hatfield.542 | 2000 | -2000
22JAN24:06:55:00 | 22JAN24:07:00:00 | MERIDIAN-TWINBRAN B 345 KV | L765.Dumont-Sorenson | 1000 | -48.07
22JAN24:06:55:00 | 22JAN24:07:00:00 | ELIMSPOR-SUNBURY A 230 KV | L230.Columbia-Montour | 2000 | -438.63
22JAN24:06:55:00 | 22JAN24:07:00:00 | CEDARCRE-SILVERUN 23030 B 230 KV | L230.Cartanza-Milford.23033 | 2000 | -2000
29JAN24:12:05:00 | 29JAN24:12:10:00 | Sandburg XFMR 3 161/138 kV l/o Oak Grove - Sandburg 345 kV | Oak Grove - Sandburg 345 kV | 235.3 | -235.33
29JAN24:12:05:00 | 29JAN24:12:10:00 | LENOX-NMESHOPP NML 1090 B 115 KV | L230.ETowanda-Hillside.2002 [NYISO] | 2000 | -2000
29JAN24:12:10:00 | 29JAN24:12:15:00 | Sandburg XFMR 3 161/138 kV l/o Oak Grove - Sandburg 345 kV | Oak Grove - Sandburg 345 kV | 117.1 | -117.19
29JAN24:12:10:00 | 29JAN24:12:15:00 | LENOX-NMESHOPP NML 1090 B 115 KV | L230.ETowanda-Hillside.2002 [NYISO] | 2000 | -2000