## Open Questions
Question Created Date | Question Created By | Title | Body
2023-10-30 | Eric Matheson | DPL - The Vienna - Mardela 69kV line | As lines are replaced, the question today often arises as to “future proofing”, meaning doing lower incremental cost improvements now to avoid much higher future resiliency upgrades or avoiding future line upgrade costs due to anticipated load growth or generation supply upgrades. I would ask DPL if they are taking on such design approaches here, or if not, if they have researched the need for such “future proofing”, and decided against it. How are they addressing the future likelihood of severe winds or flooding and does the location of these facilities expose this line to such risks? Is there a high likelihood of particularly solar or battery storage in these locations require an ability to expand this line at low cost to meet potential future need – or is this simply an uneconomic area for supply attachment? Is there load growth anticipated in the area that might benefit from low cost investments now to make future service expansion much less expensive? Perhaps none of this is likely, but I just wanted to make sure low cost investments now were investigated that can avoid significantly larger investments that are likely to happen down the road, and lessen environmental impact of rework.