## Notes
Data from presentation here:
https://www.pjm.com/-/media/committees-groups/subcommittees/las/2020/20201130/20201130-item-03b-pjm-distributed-solar-generation-2021.ashx
Slide | Spreadsheet tab
Slide 3 | Historical Nameplate Solar
Slide 7 | IHS Cumulative Forecast
Slide 8 | Historical and IHS Forecast

## Historical Nameplate Solar
Historical Nameplate Capacity of Distributed Solar Generation (MW - AC)
| 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
AE | [5 empty] | 0.13046 | 0.39494 | 1.6342 | 4.2606 | 5.6107 | 11.7641 | 24.6605 | 45.1434 | 96.6884 | 129.3146 | 154.4146 | 186.3224 | 220.278 | 287.461 | 335.8188 | 403.8201 | 455.2968 | 501.1197
AEP |  |  |  |  | 0.001536 | 0.004224 | 0.010848 | 0.017376 | 0.044832 | 0.07536 | 0.28675 | 0.53021 | 13.5131 | 17.2501 | 23.1346 | 29.0989 | 35.5937 | 39.3376 | 44.6524 | 45.8364 | 67.8131 | 74.9011 | 81.8298
APS | 0.002976 | 0.002976 | 0.002976 | 0.005568 | 0.006816 | 0.007776 | 0.020928 | 0.020832 | 0.020832 | 0.062784 | 0.11952 | 0.99101 | 5.135 | 11.3624 | 16.5381 | 20.6072 | 30.3078 | 55.5691 | 97.6399 | 127.972 | 127.9671 | 138.5772 | 147.623
ATSI |  |  |  |  | 0.030336 | 0.03024 | 0.0456 | 0.053856 | 0.0624 | 0.064608 | 0.24518 | 0.49843 | 5.3058 | 19.0803 | 36.5478 | 44.2833 | 47.852 | 53.2212 | 59.5823 | 89.1807 | 93.8372 | 101.4025 | 111.7236
BGE | [6 empty] | 0.003936 | 0.006816 | 0.03504 | 0.10858 | 1.632 | 3.537 | 8.9094 | 22.9852 | 39.9788 | 53.7841 | 78.7273 | 162.1276 | 259.1813 | 296.2617 | 325.6535 | 377.7736 | 417.8437
COMED |  |  | 0.006912 | 0.015264 | 0.068928 | 0.1176 | 0.11712 | 0.1656 | 0.17347 | 0.1727 | 0.20054 | 0.30662 | 0.92352 | 1.2575 | 23.9823 | 24.9551 | 25.9404 | 28.2777 | 33.2022 | 43.8343 | 50.4465 | 101.2761 | 214.3692
DAYTON | [9 empty] | 0.002688 | 0.022368 | 0.1031 | 0.47155 | 2.1597 | 8.8965 | 11.1009 | 12.5705 | 16.9864 | 17.4534 | 17.4698 | 23.9151 | 39.138 | 39.1293
DPL |  | 0.00096 | 0.00096 | 0.00096 | 0.00576 | 0.01056 | 0.026016 | 0.044064 | 0.3193 | 0.75984 | 2.2443 | 4.8438 | 7.9776 | 33.3843 | 61.6964 | 83.347 | 98.3103 | 128.7189 | 159.58 | 182.5663 | 213.5473 | 239.8196 | 271.3709
DQE | [6 empty] | 0.009888 | 0.0192 | 0.019104 | 0.019008 | 0.019008 | 0.038112 | 0.64925 | 1.0884 | 3.6338 | 4.1318 | 4.3396 | 4.7655 | 6.6369 | 16.0876 | 19.3412 | 21.0265 | 22.2646
DUKE |  | 0.051744 | 0.051552 | 0.05136 | 0.051168 | 0.050976 | 0.050688 | 0.072288 | 0.10858 | 0.13037 | 0.32198 | 0.62074 | 1.6552 | 6.128 | 11.4257 | 11.8505 | 13.3144 | 15.2645 | 15.8353 | 15.8968 | 24.4106 | 24.9047 | 24.1059
EKPC | [9 empty] | 0.013632 | 0.013536 | 0.0312 | 0.0648 | 0.12173 | 0.1464 | 0.16886 | 0.25027 | 0.52387 | 0.64541 | 11.0854 | 11.0315 | 11.0198 | 10.98
JCPL |  |  | 0.016992 | 0.016992 | 0.0744 | 0.912 | 1.7791 | 5.4207 | 11.407 | 15.3762 | 24.1481 | 37.1825 | 66.3655 | 161.8529 | 236.2037 | 298.7217 | 355.265 | 408.2621 | 486.2535 | 519.0875 | 594.6521 | 695.9141 | 764.2109
METED |  |  | 0.00192 | 0.00192 | 0.034848 | 0.042624 | 0.042432 | 0.063168 | 0.067872 | 0.10099 | 0.15283 | 1.499 | 13.1595 | 32.7037 | 35.2336 | 35.927 | 36.9489 | 38.3928 | 42.7722 | 51.1527 | 54.5687 | 65.1801 | 70.4888
PECO | 0.016128 | 0.017856 | 0.02976 | 0.037536 | 0.11338 | 0.18211 | 0.25056 | 0.32822 | 0.50794 | 0.62621 | 0.89779 | 3.486 | 15.4749 | 33.4936 | 43.9678 | 48.7323 | 49.4698 | 51.2632 | 64.7299 | 77.1951 | 83.5565 | 92.1541 | 104.9168
PENLC |  |  | 0.020736 | 0.02064 | 0.020544 | 0.020448 | 0.020448 | 0.020352 | 0.020256 | 0.02016 | 0.028704 | 0.26381 | 1.335 | 4.0021 | 4.4656 | 5.0487 | 5.5068 | 5.7058 | 6.8475 | 7.0702 | 7.5832 | 8.8322 | 10.5271
PEPCO | [5 empty] | 0.005376 | 0.01104 | 0.032064 | 0.054528 | 0.16714 | 0.46858 | 3.3559 | 6.5071 | 13.5636 | 27.9083 | 41.2027 | 60.5598 | 116.3198 | 209.3614 | 260.5611 | 303.489 | 346.2248 | 420.1441
PL | [7 empty] | 0.005952 | 0.023232 | 0.079008 | 0.19142 | 2.4708 | 29.0122 | 67.2659 | 77.0852 | 80.1517 | 82.3726 | 93.6635 | 107.4644 | 120.1001 | 134.5167 | 147.7316 | 159.6635
PS |  |  | 0.002592 | 0.34464 | 0.50304 | 0.58637 | 1.0819 | 4.6631 | 14.3585 | 21.4409 | 32.4359 | 65.3706 | 115.7163 | 264.0389 | 414.7953 | 507.6867 | 547.503 | 598.1772 | 692.7779 | 756.6268 | 895.5891 | 989.673 | 1102.34
RECO |  |  | 0.002496 | 0.004896 | 0.004896 | 0.0048 | 0.036672 | 0.087264 | 0.13613 | 0.93994 | 1.0097 | 1.6224 | 2.0991 | 4.9901 | 11.0002 | 12.2392 | 12.5027 | 12.9242 | 13.7984 | 14.7756 | 16.1256 | 18.4464 | 25.649
UGI | [10 empty] | 0.003264 | 0.096864 | 0.2305 | 0.38035 | 0.40224 | 0.43718 | 0.45149 | 0.44957 | 0.46003 | 0.45811 | 0.44304 | 0.45149 | 0.4608
VEPCO |  | 0.001056 | 0.0024 | 0.0024 | 0.01008 | 0.01008 | 0.01008 | 0.019968 | 0.043584 | 0.073344 | 0.17098 | 0.58982 | 2.8578 | 4.5124 | 11.34 | 25.5045 | 109.737 | 269.0925 | 543.1465 | 566.5372 | 708.7061 | 805.2925 | 934.8546
PJM RTO | 0.019104 | 0.074592 | 0.1393 | 0.50218 | 0.92573 | 2.1156 | 3.9122 | 12.6751 | 31.6632 | 45.8442 | 76.3766 | 152.0984 | 342.5065 | 798.3097 | 1217.6969 | 1493.394 | 1793.8455 | 2319.3211 | 3149.4817 | 3555.5743 | 4161.0132 | 4755.0362 | 5435.6152
Note: All years except for 2020 are based on calendar year, 2020 is through 8/31/2020

## IHS Cumulative Forecast
Distributed Solar Generation Forecast by Zone - Cumulative Additions of Nameplate Capacity
| 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036
AE | 37.4353 | 72.5101 | 102.3723 | 129.4798 | 154.066 | 172.7989 | 188.7153 | 201.7287 | 210.0643 | 220.3262 | 232.1848 | 246.7511 | 264.5682 | 280.5152 | 300.0845 | 326.2088
AEP | 79.2686 | 145.2878 | 207.3056 | 262.4274 | 307.1332 | 351.8997 | 399.8326 | 454.7494 | 516.9558 | 579.9174 | 624.5349 | 659.4595 | 692.5903 | 791.4139 | 897.1564 | 1005.6723
APS | 42.4159 | 87.4349 | 130.758 | 173.0641 | 216.6942 | 267.3967 | 321.7701 | 380.464 | 450.0223 | 520.9517 | 586.1813 | 648.1066 | 708.0859 | 767.0615 | 826.4347 | 872.899
ATSI | 34.776 | 68.6029 | 98.0067 | 122.252 | 134.5317 | 147.9284 | 160.505 | 173.7258 | 185.9733 | 198.5083 | 211.1018 | 222.6338 | 233.1421 | 306.0308 | 380.8769 | 455.4515
BGE | 78.8353 | 181.3025 | 284.7784 | 390.405 | 514.4494 | 668.4518 | 832.1176 | 1006.7407 | 1207.3316 | 1409.3227 | 1609.4114 | 1805.2724 | 1988.4195 | 2166.7235 | 2336.4136 | 2454.9158
COMED | 122.0354 | 261.2206 | 402.0211 | 542.2358 | 644.7425 | 748.3222 | 861.9438 | 968.1899 | 1074.5624 | 1188.3958 | 1293.9613 | 1396.0827 | 1489.9451 | 1596.4193 | 1723.7631 | 1838.6392
DAYTON | 8.7416 | 17.276 | 24.6936 | 30.7811 | 33.8336 | 37.1818 | 40.2754 | 43.4893 | 46.3767 | 49.2919 | 52.3006 | 55.0342 | 57.5251 | 77.1728 | 97.3763 | 117.5532
DPL | 36.8727 | 78.683 | 117.8006 | 156.0802 | 197.675 | 247.3509 | 302.2339 | 361.1634 | 429.3337 | 501.9594 | 589.881 | 688.6952 | 784.7662 | 870.588 | 939.0247 | 998.3865
DQE | 8.5512 | 16.0769 | 22.4408 | 27.8838 | 30.9791 | 34.1919 | 37.8015 | 42.0463 | 47.0327 | 52.6169 | 57.3915 | 62.0774 | 66.4345 | 70.8351 | 75.8998 | 80.5607
DUKE | 12.8526 | 25.6207 | 36.9124 | 46.332 | 51.0305 | 56.4613 | 61.736 | 67.6497 | 73.3858 | 78.9913 | 84.929 | 90.4578 | 95.6231 | 126.8198 | 158.9488 | 191.2537
EKPC | 2.2143 | 4.4536 | 6.5395 | 8.4096 | 9.1779 | 10.6597 | 12.6402 | 15.8034 | 19.7502 | 23.1879 | 27.1312 | 31.0684 | 34.9991 | 38.9229 | 42.8389 | 46.7471
JCPL | 83.7223 | 161.8091 | 228.0675 | 288.0832 | 342.4247 | 383.7806 | 418.8917 | 447.5942 | 465.9872 | 488.6256 | 514.7947 | 546.9518 | 586.2937 | 621.5203 | 664.7791 | 722.4799
METED | 9.8416 | 18.5543 | 25.9637 | 32.3487 | 36.0116 | 39.8474 | 44.1978 | 49.3631 | 55.4941 | 62.4243 | 68.4141 | 74.359 | 79.9503 | 85.6608 | 92.3101 | 98.487
PECO | 24.8833 | 46.716 | 65.096 | 80.7678 | 89.6591 | 98.8732 | 109.2181 | 121.381 | 135.6761 | 151.7061 | 165.4373 | 178.951 | 191.5567 | 204.3345 | 219.0967 | 232.6836
PENLC | 10.6824 | 20.0312 | 27.8956 | 34.6042 | 38.4152 | 42.3721 | 46.8235 | 52.0687 | 58.2467 | 65.1853 | 71.1432 | 77.0208 | 82.5162 | 88.0978 | 94.5605 | 100.5169
PEPCO | 67.5663 | 156.3771 | 242.8347 | 327.6279 | 431.6285 | 549.9216 | 676.6329 | 812.3403 | 962.7994 | 1119.9926 | 1291.9257 | 1486.7778 | 1673.1041 | 1835.5722 | 1952.4726 | 2039.226
PL | 25.3897 | 47.829 | 66.8878 | 83.2788 | 92.656 | 102.4548 | 113.5378 | 126.6559 | 142.1691 | 159.6661 | 174.7421 | 189.6617 | 203.6539 | 217.9046 | 234.4451 | 249.7707
PS | 165.9021 | 321.5243 | 454.0031 | 574.2666 | 683.2523 | 766.2043 | 836.5946 | 894.106 | 930.9283 | 976.2128 | 1028.4955 | 1092.672 | 1171.1105 | 1241.2629 | 1327.3206 | 1442.1412
RECO | 5.4772 | 10.6056 | 14.969 | 18.9262 | 22.5111 | 25.2402 | 27.5563 | 29.4466 | 30.6565 | 32.144 | 33.8613 | 35.9688 | 38.5433 | 40.844 | 43.6652 | 47.4275
UGI | 0.63057 | 1.1758 | 1.6314 | 2.0177 | 2.2359 | 2.4613 | 2.7136 | 3.0091 | 3.3547 | 3.7408 | 4.0702 | 4.3934 | 4.6933 | 4.996 | 5.3437 | 5.662
VEPCO | 212.9023 | 370.5828 | 529.3616 | 682.7698 | 830.0803 | 980.2303 | 1148.6027 | 1330.4489 | 1542.681 | 1755.9458 | 1869.1872 | 1940.5608 | 1979.5361 | 2010.3136 | 2044.9711 | 2092.5224
PJM RTO | 1070.9966 | 2113.6744 | 3090.3393 | 4014.0416 | 4863.1877 | 5734.0291 | 6644.3403 | 7582.1646 | 8588.7818 | 9639.1125 | 10591.0802 | 11532.9561 | 12427.0572 | 13443.0096 | 14457.7825 | 15419.2051

## Historical and IHS Forecast
Distributed Solar Generation Forecast by Zone - Cumulative Nameplate Capacity - Includes Historical Degraded Values and IHS Forecast
| 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036
AE | 534.546 | 565.644 | 591.5611 | 614.7551 | 635.459 | 650.3409 | 662.4369 | 671.6605 | 676.2367 | 682.7691 | 690.9283 | 701.8246 | 716.0011 | 728.3367 | 744.3234 | 766.8937
AEP | 158.5918 | 222.612 | 282.6151 | 335.7723 | 378.5608 | 421.374 | 467.1845 | 519.8625 | 579.5891 | 640.0847 | 683.1596 | 716.9355 | 749.257 | 847.4764 | 952.6084 | 1060.4281
APS | 189.4545 | 233.7685 | 276.3302 | 317.8182 | 360.4511 | 410.1539 | 463.5691 | 521.3554 | 590.0311 | 660.1259 | 724.4055 | 785.3658 | 844.314 | 902.2661 | 960.6668 | 1006.2016
ATSI | 145.642 | 178.6199 | 207.1776 | 230.5776 | 242.0046 | 254.5573 | 266.2944 | 278.6819 | 290.0991 | 301.8094 | 313.5873 | 324.3087 | 334.012 | 406.2146 | 480.3829 | 554.2873
BGE | 492.9749 | 591.6599 | 691.3788 | 793.2681 | 913.5217 | 1063.6288 | 1223.3859 | 1394.0815 | 1590.6608 | 1788.6634 | 1984.8013 | 2176.7586 | 2356.0852 | 2530.6174 | 2696.6001 | 2811.6389
COMED | 334.6896 | 472.1736 | 611.2864 | 749.827 | 850.673 | 952.6053 | 1064.5926 | 1169.2175 | 1273.9817 | 1386.2198 | 1490.2027 | 1590.7542 | 1683.0592 | 1787.9885 | 1913.7998 | 2027.1555
DAYTON | 47.5729 | 55.8116 | 62.9341 | 68.7266 | 71.4813 | 74.5348 | 77.3355 | 80.2592 | 82.8582 | 85.4873 | 88.2126 | 90.6645 | 92.8756 | 112.2767 | 132.237 | 152.173
DPL | 306.037 | 345.631 | 382.5488 | 418.6432 | 458.0539 | 505.5383 | 558.2411 | 614.9994 | 680.9975 | 751.4659 | 837.2337 | 933.9073 | 1027.8595 | 1111.5808 | 1177.94 | 1235.2839
DQE | 30.5815 | 37.8805 | 44.0264 | 49.2588 | 52.1608 | 55.1808 | 58.5962 | 62.644 | 67.4295 | 72.8103 | 77.3882 | 81.8792 | 86.045 | 90.2553 | 95.1265 | 99.5977
DUKE | 36.6853 | 49.1833 | 60.2177 | 69.3955 | 73.8767 | 79.1001 | 84.1814 | 89.9224 | 95.5057 | 100.9496 | 106.734 | 112.1144 | 117.1358 | 147.9256 | 179.6392 | 211.5278
EKPC | 13.0777 | 15.2008 | 17.1733 | 18.9336 | 19.607 | 20.9855 | 22.8571 | 25.8972 | 29.712 | 33.0249 | 36.838 | 40.6459 | 44.4483 | 48.2448 | 52.0343 | 55.817
JCPL | 841.8194 | 913.8415 | 974.0837 | 1028.1312 | 1076.5524 | 1112.0352 | 1141.3203 | 1164.2433 | 1176.9032 | 1193.8543 | 1214.3815 | 1240.9419 | 1274.7318 | 1304.451 | 1342.2463 | 1394.5274
METED | 79.7018 | 87.7971 | 94.6019 | 100.3935 | 103.4855 | 106.7537 | 110.5374 | 115.1346 | 120.6953 | 127.0539 | 132.4828 | 137.8712 | 142.9125 | 148.0762 | 154.1765 | 159.8115
PECO | 128.7972 | 149.6521 | 167.0828 | 181.8297 | 189.8483 | 198.1938 | 207.669 | 218.9562 | 232.3674 | 247.508 | 260.3716 | 273.0253 | 284.7834 | 296.7184 | 310.6303 | 323.3807
PENLC | 21.0551 | 30.2581 | 37.9869 | 44.5681 | 48.2718 | 52.1211 | 56.4622 | 61.5923 | 67.6495 | 74.4627 | 80.3026 | 86.0632 | 91.4449 | 96.9128 | 103.2563 | 109.0975
PEPCO | 484.8635 | 571.0052 | 654.8236 | 737.0145 | 838.5539 | 954.5992 | 1079.1457 | 1212.7785 | 1361.3471 | 1516.6786 | 1686.758 | 1879.7497 | 2064.1568 | 2224.6958 | 2339.6343 | 2424.1324
PL | 183.609 | 204.6319 | 222.3059 | 237.3396 | 245.4167 | 253.9222 | 263.7132 | 275.5351 | 289.7454 | 305.9358 | 319.7308 | 333.38 | 346.1174 | 359.1208 | 374.4076 | 388.4966
PS | 1259.4233 | 1406.2974 | 1530.0979 | 1641.7527 | 1742.1985 | 1816.6789 | 1878.6654 | 1927.8404 | 1956.3927 | 1993.4735 | 2037.6181 | 2093.7217 | 2164.1518 | 2226.3599 | 2304.5368 | 2411.5396
RECO | 30.921 | 35.8459 | 40.0073 | 43.7642 | 47.1504 | 49.6824 | 51.803 | 53.4993 | 54.5168 | 55.8133 | 57.3414 | 59.261 | 61.6491 | 63.765 | 66.4029 | 69.9833
UGI | 1.0835 | 1.6215 | 2.0704 | 2.4505 | 2.6636 | 2.884 | 3.131 | 3.4211 | 3.7609 | 4.141 | 4.4648 | 4.7823 | 5.0769 | 5.3742 | 5.7162 | 6.0292
VEPCO | 1141.9999 | 1293.532 | 1446.2308 | 1593.5733 | 1734.8383 | 1879.0273 | 2041.6481 | 2217.9044 | 2424.8459 | 2632.8725 | 2740.0999 | 2805.1558 | 2837.6054 | 2861.8449 | 2890.0492 | 2931.2856
PJM RTO | 6463.1269 | 7462.6677 | 8396.5406 | 9277.7933 | 10084.8294 | 10913.8977 | 11782.77 | 12679.4868 | 13645.3254 | 14655.2038 | 15567.0427 | 16469.111 | 17323.7228 | 18300.5019 | 19276.4148 | 20199.2883