## Setup
Enter Stakeholder Committee Name in cell A2:
Electric Gas Coordination Senior Task Force | Priorities
Low
Enter issue title (use title from Issue Tracking if applicable) in cell A5: | Low-Medium
Natural Gas and Electric Coordination | Low-High
Medium
Medium-High
High

## 1. Interest Identification
Electric Gas Coordination Senior Task Force
Natural Gas and Electric Coordination
Interest Identification
Instructions: List interests of all parties on this page.
|  | Primary Category | Secondary Category
FERC
1 | Competitive gas market | FERC
2 | Consistency of merchant power business model and pipeline business model | FERC
3 | No risk shifting from gas market to power market | FERC
4 | No risk shifting from power suppliers to customers | FERC
5 | Competitive power market | FERC
FERC/NAESB
6 | Intraday supply and nominations | FERC/NAESB
7 | Revisiting options for further gas day/electric day alignment | FERC/NAESB
8 | Opportunities for enhancements to NAESB nomination guidelines for generators during cold weather alerts/constrained periods | FERC/NAESB
NATURAL GAS INDUSTRY/TARIFF
9 | Daily natural gas balancing rules | Natural Gas Industry/Tariff
10 | Monthly/Seasonal Natural Gas balancing rules | Natural Gas Industry/Tariff
11 | Central/coordinated gas transportation planning | Natural Gas Industry/Tariff
PJM FUEL COST POLICY
12 | Appropriate inclusion of natural gas, cost adders would cover items (e.gx pipeline post cycle supply or sales, storage, no-notice service, park and loan service) | PJM Fuel Cost Policy | FERC
PJM MARKETS
13 | A minimum natural gas volume commitment for volumes purchased in advance of DA Awards using DA MW/LMP projections | PJM Markets | PJM Operations
14 | Allowing power producers to purchase solar/wind substitutes, where available, for balancing PJMs system instead of using combined cycle gas units | PJM Markets | FERC
15 | Ancillary product for purchasing options to accommodate a growing, intermittent sector of total generation | PJM Markets | FERC
16 | Market Incentives | PJM Markets
17 | Multi-day, DA award model to match multiple day natural gas market purchasing realities over weekend/holidays-----Weekend/holiday gas market liquidity limitations | PJM Markets | Natural Gas Markets
18 | Opportunities for enhancements to day ahead and real time award process during cold weather alerts/constrained periods | PJM Markets
19 | The obligations of capacity resources to obtain gas supply and pipeline transportation with defined reliability characteristics should be clarified | PJM Markets | FERC
20 | Rules for cost recovery and incentives created by the rules lead to reasonably efficient actions in the face of uncertainty from the customer's perspective. | PJM Markets
PJM OPERATIONS
21 | Clear definition of fuel related unavailability/outages | PJM Operations | NERC
22 | Ensuring critical gas infrastructure is clearly identified within system restoration, load shedding and demand response programs | PJM Operations | Natural Gas Industry
23 | Expanded Tabletop Drills | PJM Operations | Natural Gas Industry
24 | Factoring natural gas volume commitment and pipeline restrictions into RT dispatch | PJM Operations
25 | Gas capacity requirements identified to support power generation capacity and generation flexibility | PJM Operations | Gas Pipeline Operations
26 | Improve cost and availability awareness associated with intra-day supply and pipeline service flexibility | PJM Operations | Generation Stakeholders
27 | Improve practice of awarding/running peaking units on cost to address system transmission constraints to ensure long term viability of peaking units | PJM Operations | PJM Markets
28 | Improve understanding of on-site, alternate fuel inventory and capability | PJM Operations | Generation Stakeholders
29 | In addition to N-1 (unit failure paradigm) contingency planning, some contingency planning around load and intermittent generation forecast error should be used in reserve calculations and associated fueling requirements | PJM Operations
30 | N-1 reliability and emergency spin reserves to consider fuel limitations and constraints | PJM Operations
31 | Opportunities for enhanced protocols for communication of advanced notice of gas limitations (either due to physical delivery or contractual) from market participants to PJM | PJM Operations
32 | PJM should have full information about the pipeline and gas supply arrangements and dual fuel supply arrangements of all generators | PJM Operations | Generation Stakeholders
33 | Real Time Gas systems to coordinate with PJM power desk | PJM Operations | Gas Pipeline Operations
34 | Visibility of all fuel limitations and the impact on reliability and reserves | PJM Operations | Generation Stakeholders
PJM OPERATIONS AND MARKETS
35 | Communicating to FERC where PJM and the Electric Industry need more flexibility with the Gas Industry | PJM Operations and Markets
36 | Examine the concept of Residual unit commitment | PJM Operations and Markets
37 | Fuel security program | PJM Operations and Markets
38 | The assignment of gas availability and price risk to capacity resources should be clarified | PJM Operations and Markets | Generation Stakeholders
PJM OPERATIONS AND PLANNING
39 | Collaboration with natural gas pipelines/generators/PJM on system expansion projects (generation/transmission) | PJM Operations and Planning | Natural Gas Industry
PJM RISK MANAGEMENT
40 | Accounting of failure of financial corporate structure during extreme events and high fuel costs | PJM RISK MANAGEMENT | Generation Stakeholders

## 2. Options Matrix- Design Comp
Electric Gas Coordination Senior Task Force
Natural Gas and Electric Coordination
OPTIONS MATRIX
Solution Options
# | Design Components | Priority | Status Quo | A | B | C | D | E | F | G | H | I
* | Implementation | bar: H
FERC | bar: H
1 | Appropriate inclusion of natural gas cost adders would cover items (e.g. pipeline post cycle supply or sales, storage, no-notice service, park and loan service) | High |  | H: Gas costs are addressed in Fuel cost Policies. Costs of gas sales should be borne by the generator these costs are based on purchasing decision by the generator. No adders are appropriate.
FERC/NAESB
2 | Revisiting options for further gas day/electric day alignment | Low | Misaligned operating days Electric Day: 12am - 12am; Gas Day: 10am - 10am | A: Align gas day to current electric day; B: Initiate discussion with NAESB/FERC staff to review potential operating day alignment opportunities; E: Initiate discussion with NAESB/FERC staff to review potential operating day alignment opportunities; H: Work with NAESB to align the gas market day with the electric market day
3 | Opportunities for enhancements to NAESB nomination guidelines for generators during cold weather alerts/constrained periods | Low | NAESB gas nomination cycles govern all natural gas shippers the same | A: Current NAESB Gas Electric Harmonization Effort; E: Initiate discussion with NAESB/FERC staff to review potential gas nomination cycle enhancements; H: Must follow pipeline nomination guidelines.
Low
| NATURAL GAS INDUSTRY/TARIFF | [11 empty] | Low - Medium
4 | Daily, Monthly and Seasonal natural gas balancing rules | Low-Medium | Rules not consistent across natural gas industry | A: Streamlining of gas balancing rules for generators across the gas industry to coordinate with electric market; H: Generators have to manage their supplies within guidelines of regulations and pipeline tariffs. These are risks assumed when generators make purchase and sale decisions. | Low - High
Medium
PJM FUEL COST POLICY
PJM MARKETS
5 | A minimum natural gas volume commitment for volumes purchased in advance of DA Awards using DA MW/LMP projections | High | Owner makes economic decision to self-schedule and burn the remaining gas or choses to dispose of it. Generators typically need to procure gas prior to knowing if they are needed (primarily real time dispatch or over weekend periods beyond the day ahead market) | A: Provide a minimum volume commitment; B: Allow the recovery of losses associated with sales of unused gas supply associated with a PJM dispatch change; G: Allow the recovery of losses associated with sales of unused gas supply associated with a PJM dispatch change; H: Generators are obligated to make purchases/sales based on their own market expectations.
6 | Gas pipeline/supply constraints considered in dispatch instructions | High | Constraints not incorporated in dispatch instructions | Don't count gas reserves if no nominations beyond the timely/evening nomination cycle | Establish a threshold for reserves | Generators identify specific constraints and fuel supply/generation output impact | Submit a Temporary Exception if prior to the DA-Market or if in RT, submit a RT-Market. |  | Create a process to improve PJM’s daily situational awareness through evaluations, tracking, analysis of fuel supply and generator fuel costs in dispatch models. |  | During constrained periods PJM should share pipeline conditions with dispatch. Generators availability should be updated immediately.
7 | Inverse Relationship between gas and need (may merge with another design component) | merge | MERGED WITH #5 | bar: A to G
8 | Are there sufficient Market incentives for fuel procurement in advance? (consolidate with #5) | High | MERGED WITH #5 | bar: A to G
9 | Recovery of cost of fuel disposal of a canceled dispatch | Medium | LOC only, temporary exemptions allowed for pipeline enforced ratable gas for PLS | A: Allow the recovery of imbalance costs associated with PJM dispatch changes; B: Allow the recovery of losses associated with sales of unused gas supply associated with a PJM dispatch change; G: Allow the recovery of imbalance costs associated with PJM dispatch changes; H: Fuel purchases are based on generators economic decisions, this risk should not be borne by the market
10 | Multi-day, DA award model to match multiple day natural gas market purchasing realities over weekend/holidays-----Weekend/holiday gas market liquidity limitations | High | Lack of weekend gas market liquidity The natural gas market is generally not as liquid during weekend periods with many market participants procuring required gas volumes on Friday for the Saturday through Monday periods. On Friday, generation resources will only know their day ahead commitment requirements for the Saturday electric day (12am to 12am). Units that are needed during the weekend are subject to gas availability and price risk over the weekend period. | Enhancements to the availability of weekend gas supply/market liquidity | Binding multi-day forecast following DA commitment | Start with a non-binding multi-day forecast following DA binding commitment | Binding multi-day forecast with alternative for procurement (if NG does not meet commitment) |  | Create voluntary option for any generation resource to offer a multi-day offer for weekends and holidays. |  | Fuel purchase decisions are the generators' responsibility.
11 | The obligations of capacity resources to obtain gas supply and pipeline transportation with defined reliability characteristics should be clarified | Medium | PJM does not require generators to obtain specific types of gas supply and/or transportation capacity contracts. Market sellers are incentivized to reliably deliver electricity via Capacity Performance | A: Establish minimum gas delivery firm arrangements/contracts; H: It is the generators' responsibility to determine what resources they need and generators should make those decisions based on their own economic assessment. Capacity resources are expected to be available at all times.
12 | Rules for cost recovery and incentives created by the rules lead to reasonably efficient actions in the face of uncertainty from the customer's perspective. | Remove | REMOVED | bar: A to G
PJM OPERATIONS
13 | Clear definition of fuel related unavailability/outages | High | eDart/GADS definitions | H: Generators should take a forced outage if fuel is not available. Generators should not receive the daily capacity payment if fuel is not available for the day.
14 | Ensuring critical gas infrastructure is clearly identified within system restoration, load shedding and demand response programs | High | This is currently being addressed within PJM Operations working with TO's through load shed plans as well as through the PJM DR subcommittee to address critical gas infrastructure participating in DR programs. PJM has been working with its Transmission Owners to ensure that natural gas facilities that are deemed critical infrastructure, are not included in existing manual or automatic load shedding schemes. | E: The PJM Demand Response Subcommittee is currently engaged with stakeholders on the establishment of PJM tariff and manual revisions which would prohibit critical gas infrastructure from participating in demand response program. This work is expected to be completed before the end of this year.; H: PJM should implement their plan as soon as possible
15 | Expanded Tabletop Drills | Low | PJM/Pipeline/LDCs Historically, PJM has been engaged in various tabletop drills with interstate pipelines and local gas distribution companies | A: Incorporate generation owners into future collaborative system disruption/restoration drills/exercises; E: Develop expanded annual tabletop exercises to include gas generation owners to work with PJM and the natural gas industry on critical system disruption and recovery drills; H: PJM should include IMM in their table top drills as well as generator owners
16 | Factoring natural gas volume commitment and pipeline restrictions into RT dispatch |  | MERGED WITH #6 | bar: A to G
17 | Gas capacity requirements identified to support power generation capacity and generation flexibility | Medium | MERGED WITH #6 | bar: A to G
18 | Improve cost and availability awareness associated with intra-day supply and pipeline service flexibility |  | MERGED WITH #7 | bar: A to H
19 | Improve practice of awarding/running peaking units on cost to address system transmission constraints to ensure long term viability of peaking units (out of scope?) | Low | IDENTIFIED AS OUT OF SCOPE | bar: A to G
20 | Improve understanding of on-site, alternate fuel inventory and capability | Medium-High | Annual Pre Winter Generator Fuels Data Request; PJM Manual defined guidelines for fuel limited resources offered as maximum emergency; PJM Data Requests | A: Increased telemetry to track onsite fuel inventories; H: Generators update fuel inventories in MIRA. More regular updates should be performed. PJM needs full real time situational awareness.
21 | In addition to N-1 (unit failure paradigm) contingency planning, some contingency planning around load and intermittent generation forecast error should be used in reserve calculations and associated fueling requirements | Low |  | H: Not relevant to gas/electric coordination issue.
22 | N-1 reliability and emergency spin reserves to consider fuel limitations and constraints | Low | PJM currently assesses pre-defined gas contingencies during all cold weather and hot weather alerts as well as when certain events occur such as an emergent pipeline failure or disruption. | H: PJM reserve calculations and the ability to offer reserves should account for actual terms of gas availability.
23 | Opportunities for enhanced protocols for communication of advanced notice of gas limitations (either due to physical delivery or contractual) from market participants to PJM | High | Markets Gateway functionality Market participants can currently use Markets Gateway to communicate gas limitations to PJM | A: Create a flag in Markets Gateway for gas fired generators that informs PJM if (by DA market bid submission deadline) Timely or Next Day has been bought or nominated for delivery; H: Any gas limitations generators identify need to be reported to PJM immediately
24 | PJM should have full information about the pipeline and gas supply arrangements and dual fuel supply arrangements of all generators | Low-Medium | Annual Pre Winter Generator Fuels Data Request; PJM Manual defined guidelines for fuel limited resources offered as maximum emergency; PJM Data Requests | A: More frequent requests for data; B: Material changes may require notification to PJM; H: Generators need to provide PJM and the IMM with all pertinent pipeline and supply information.
25
26 | Visibility of all fuel limitations and the impact on reliability and reserves | Medium-High | Fuel limitations reflected in operating parameters that determine reserve estimates | A: Generator provides PJM with DA/RT MW capability based on fuel/contract provisions; B: Accurately report unit availability when pipelines/LDC notifies Market Seller of gas limitations; E: Update PJM Manual 13 to establish clear requirements/rules for natural gas generators to report availability to PJM through unit parameter exemption process outlined in Manual 11 Section 2.3.4.3; H: PJM reserve calculations and the ability to offer reserves should account for actual terms of gas availability.
PJM OPERATIONS AND MARKETS
27 | Communicating to FERC where PJM and the Electric Industry need more flexibility with the Gas Industry (discussion on at a later date - update under the FERC heading) | Low | MOVE TO PARKING LOT | bar: A to G
28 | Examine the concept of CAISO Residual Unit Commitment (RUC) | Medium | PJM RAC | A: Further explore CAISO RUC program for potential incorporation into PJM operations; E: Expand the current scope of the EGCSTF to formally explore the CAISO RUC process to determine if there is an opportunity to leverage its use within the PJM dispatch process.
29
30
PJM OPERATIONS AND PLANNING
31 | Collaboration with natural gas pipelines/generators/PJM on system expansion projects (generation/transmission) - check with PJM Planning | Low | MOVE TO PARKING LOT | bar: A to G
PJM RISK MANAGEMENT
32 | Accounting of failure of financial corporate structure during extreme events and high fuel costs - check with credit SMEs (finance and risk) | Low |  | A: Gas/Electric market price caps during extreme events
33 | Market suspension during an extreme event (need to change Market Suspension due to definition) | Medium-High | Market suspension discussions occurring at the MIC MIC approved definition | A: MIC definition - may not be an option for this design component; B: Gas fired only suspension

## 2a. Design Component Details
Electric Gas Coordination Senior Task Force
Natural Gas and Electric Coordination
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component | Detailed Description
1 | <enter detailed description of this component>
2 | <enter detailed description of this component>
3 | <enter detailed description of this component>
4 | <enter detailed description of this component>
5 | <enter detailed description of this component>

## 2b. Option Details
Electric Gas Coordination Senior Task Force
Natural Gas and Electric Coordination
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Package Matrix
Electric Gas Coordination Senior Task Force
Natural Gas and Electric Coordination
PACKAGE/ PROPOSAL MATRIX
Packages
# | Design Components | Priority | Status Quo | A | B | C | D | E
* | Implementation
FERC
1 | Appropriate inclusion of natural gas cost adders would cover items (e.g. pipeline post cycle supply or sales, storage, no-notice service, park and loan service) | High
FERC/NAESB
2 | Revisiting options for further gas day/electric day alignment | Low | Electric Day: 12am - 12am; Gas Day: 10am - 10am
3 | Opportunities for enhancements to NAESB nomination guidelines for generators during cold weather alerts/constrained periods | Low | NAESB gas nomination cycles govern all natural gas shippers the same
Low
| NATURAL GAS INDUSTRY/TARIFF | [7 empty] | Low - Medium
4 | Daily, Monthly and Seasonal natural gas balancing rules | Low-Medium | Rules not consistent across natural gas industry | [5 empty] | Low - High
Medium
PJM FUEL COST POLICY
PJM MARKETS
5 | A minimum natural gas volume commitment for volumes purchased in advance of DA Awards using DA MW/LMP projections | High | Owner makes economic decision to self-schedule and burn the remaining gas or choses to dispose of it. Generators typically need to procure gas prior to knowing if they are needed (primarily real time dispatch or over weekend periods beyond the day ahead market)
6 | Gas pipeline/supply constraints considered in dispatch instructions | High | Constraints not incorporated in dispatch instructions
7 | Inverse Relationship between gas and need (may merge with another design component) | merge | MERGED WITH #5
8 | Are there sufficient Market incentives for fuel procurement in advance? (consolidate with #5) | High | MERGED WITH #5
9 | Recovery of cost of fuel disposal of a canceled dispatch | Medium | LOC only, temporary exemptions allowed for pipeline enforced ratable gas for PLS
10 | Multi-day, DA award model to match multiple day natural gas market purchasing realities over weekend/holidays-----Weekend/holiday gas market liquidity limitations | High | The natural gas market is generally not as liquid during weekend periods with many market participants procuring required gas volumes on Friday for the Saturday through Monday periods. On Friday, generation resources will only know their day ahead committment requirements for the Saturday electric day (12am to 12am). Units that are needed during the weekend are subject to gas availability and price risk over the weekend period.
11 | The obligations of capacity resources to obtain gas supply and pipeline transportation with defined reliability characteristics should be clarified | Medium | PJM does not require generators to obtain specific types of gas supply and/or transportation capacity contracts. Market sellers are incentivized to reliably deliver electricity via Capacity Performance
12 | Rules for cost recovery and incentives created by the rules lead to reasonably efficient actions in the face of uncertainty from the customer's perspective. | Remove | REMOVED
PJM OPERATIONS
13 | Clear definition of fuel related unavailability/outages | High | eDart/GADS definitions
14 | Ensuring critical gas infrastructure is clearly identified within system restoration, load shedding and demand response programs | High | PJM has been working with its Transmission Owners to ensure that natural gas facilities that are deemed critical infrastrutcure, are not included in existing manual or automatic load shedding schemes.
15 | Expanded Tabletop Drills | Low | Historically, PJM has been engaged in various tabletop drills with interstate pipelines and local gas distribution companies
16 | Factoring natural gas volume commitment and pipeline restrictions into RT dispatch |  | MERGED WITH #6
17 | Gas capacity requirements identified to support power generation capacity and generation flexibility | Medium | MERGED WITH #6
18 | Improve cost and availability awareness associated with intra-day supply and pipeline service flexibility |  | MERGED WITH #7
19 | Improve practice of awarding/running peaking units on cost to address system transmission constraints to ensure long term viability of peaking units (out of scope?) | Low | IDENTIFIED AS OUT OF SCOPE
20 | Improve understanding of on-site, alternate fuel inventory and capability | Medium-High | Annual Pre Winter Generator Fuels Data Request; PJM Manual defined guidelines for fuel limited resources offered as maximum emergency; PJM Data Requests
21 | In addition to N-1 (unit failure paradigm) contingency planning, some contingency planning around load and intermittent generation forecast error should be used in reserve calculations and associated fueling requirements | Low
22 | N-1 reliability and emergency spin reserves to consider fuel limitations and constraints | Low | PJM currenty asseses pre-defined gas contingencies during all cold weather and hot weather alerts as well as when certain events occur such as an emergent pipeline failure or disruption.
23 | Opportunities for enhanced protocols for communication of advanced notice of gas limitations (either due to physical delivery or contractual) from market participants to PJM | High | Market participants can currently use Markets Gateway to communicate gas limitations to PJM
24 | PJM should have full information about the pipeline and gas supply arrangements and dual fuel supply arrangements of all generators | Low-Medium | Annual Pre Winter Generator Fuels Data Request; PJM Manual defined guidelines for fuel limited resources offered as maximum emergency; PJM Data Requests
25
26 | Visibility of all fuel limitations and the impact on reliability and reserves | Medium-High | Fuel limitations reflected in operating parameters that determine reserve estimates
PJM OPERATIONS AND MARKETS
27 | Communicating to FERC where PJM and the Electric Industry need more flexibility with the Gas Industry (discussion on at a later date - update under the FERC heading) | Low | MOVE TO PARKING LOT
28 | Examine the concept of CAISO Residual Unit Commitment (RUC) | Medium | PJM RAC
29
30
PJM OPERATIONS AND PLANNING
31 | Collaboration with natural gas pipelines/generators/PJM on system expansion projects (generation/transmission) - check with PJM Planning | Low | MOVE TO PARKING LOT
PJM RISK MANAGEMENT
32 | Accounting of failure of financial corporate structure during extreme events and high fuel costs - check with credit SMEs (finance and risk) | Low
33 | Market suspension during an extreme event (need to change Market Suspension due to definition) | Medium-High | Market suspension discussions occurring at the MIC

## 3a. Package Details
Electric Gas Coordination Senior Task Force
Natural Gas and Electric Coordination
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1
2
3
4
5
6 |  | Create a process to improve PJM’s daily situational awareness through evaluations, tracking, analysis of fuel supply and generator fuel costs in dispatch models. Step 1: Quantify Fuel Sourcing for DA Awards Generators upload gas noms, projected sourcing and approved burn profiles. PJM to – document if DA fuel plan defies pipeline constraints, OFOs or tariff provisions – evaluate ratio of pipe nominations by cycle (reliance on ID2, ID3?) – evaluate aggregated DA fueling plan and review w/pipeline – evaluate (make public) aggregate impact of RT dispatch on fuel plan. Step 2: Quantify, & Make Explicit, Reserve Fuel Sourcing Assumptions Quantify onsite & pipe source back-up fueling capabilities (vols, replenish sch). Determine potential need (load/intermittent generation/interface forecast errors, N-1 contingencies, etc.) by hour and compare to known fueling capabilities. Evaluate (make public) overall reliability of reserve fueling plan & review w/ pipeline. Step 3: Compare Energy Market Signals vs. Fuel Costs for Fueling Planning Consistency Determine if the market signal (DA or RT) provide sufficient incentive to procure fuel consistent with existing pipeline Tariff requirements. Evaluate market signal on backup fuel consumption. Evaluate generator credit/cash flow implications during extreme events. Step 4: Evaluate Performance After Periods of Stress ACE performance (# & length of excursions). Quantify amount & type of backup fuel consumed. Make evaluations public
7
8
9
10 |  | Create voluntary option for any generation resource to offer a multi-day offer for weekends and holidays. If Generation Resource does not receive a multi-day ahead award for duration of weekend or holiday, then it can re-offer in the Generation Rebidding Period. If the Generation Resource is not dispatched in reoffer period, it can still elect to self-schedule or re-offer in the subsequent Day-Ahead offer windows. Generation still wears risk of not clearing economically for multiple days and retains status quo to manage risk (e.g. Must run, sell gas, pipeline imbalance).
11
12
13
14 | The PJM Demand Response Subcommittee is currently engaged with stakeholders on the establishment of PJM tariff and manual revisions which would prohibit critical gas infrastructure from participating in demand response program. This work is expected to be completed before the end of this year.
15 | Develop expanded annual tabletop exercises to include gas generation owners to work with PJM and the natural gas industry on critical system distruption and recovery drills
16
17
18
19
20
21
22
23
24
25
26 | Update PJM Manual 13 to establish clear requirements/rules for natural gas generators to report availability to PJM through unit parameter exemption process outlined in Manual 11 Section 2.3.4.3 Leverage and modify existing Unit Specific Parameter Proces: Generator submits a Temporary Exception if prior to the DA-Market. 1) Generators must offer their unit specific parameter limited notification times on the cost–based and price-based PLS schedules into the Day Ahead and Rebid. 2) Generators on pipelines that strictly enforce the nomination schedule for gas flow can submit a request to the Unit Specific Parameter review team for a permanent exception to increase the units notification time in the Intraday to reflect the nomination schedule. 3) Generators on pipelines that periodically enforce the nomination schedule for gas flow can submit a request to the Unit Specific Parameter review team for a temporary exception as needed to increase the units notification time in the Intraday to appropriately reflect availability 4) Generators that will not be able to operate due to a pipeline or fuel supply restriction must submit a forced outage ticket in eDart to reflect their hours of unavailability
27

## Parking Lot
Electric Gas Coordination Senior Task Force
Natural Gas and Electric Coordination
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description
Competitive gas market
Consistency of merchant power business model and pipeline business model
No risk shifting from gas market to power market
No risk shifting from power suppliers to customers
Competitive power market
Allowing power producers to purchase solar/wind substitutes, where available, for balancing PJMs system instead of using combined cycle gas units
Ancillary product for purchasing options to accommodate a growing, intermittent sector of total generation
Fuel security program
The assignment of gas availability and price risk to capacity resources should be clarified
Real Time Gas systems to coordinate with PJM power desk

## Revision History
Electric Gas Coordination Senior Task Force
Natural Gas and Electric Coordination
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1
2
3

## Future Consideration
For Future Consideration Activities currently out of PJM control and/or scope of the Issue Charge
Topics | Potential Actions
1. Gas/Electric Day Alignment | Initiate discussion with NAESB/FERC staff to review potential operating day alignment opportunities
2. NAESB nomination guidelines for generators during cold weather alerts/constrained periods | PJM / Stakeholders consider re-engaging NAESB Gas Electric Harmonization committee to consider reopening this topic for further consideration
3. Natural Gas Balancing Rules | Investigate opportunity to streamline gas balancing rules for generators across the gas industry to coordinate with electric market
4. Incentives | Investigate - Are there sufficient Market incentives for fuel procurement in advance?
5. Weekend Gas Market | Investigate opportunity to advocate for implementation of a weekend gas market
7. FERC Engagement | Communicating to FERC where PJM and the Electric Industry need more flexibility with the Gas Industry
8. Residual Unit Commitment | Examine the concept of Residual unit commitment - Further explore CAISO RUC program for potential incorporation into PJM operations
9. Collaboration with Planning | Develop Coordinated/Collaborative system planning function between gas and electric industries - Collaboration with natural gas pipelines/generators/PJM on system expansion projects (generation/transmission)
10. Explore Failure Risk | Accounting of failure of financial corporate structure during extreme events and high fuel costs and explore concept of gas/electric price caps during extreme events
11. Market Suspension | Education on market suspension rules (MIC) during an extreme event
**Recommendation for the the creation of a new Gas/Electric Coordination subcommittee with meetings scheduled quarterly or as needed; OR scheduled updates to the OC with meetings scheduled as needed.