## Setup
Enter Stakeholder Committee Name in cell A2:
Resource Adequacy Senior Task Force
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Qualification and Accreditation - KWA 5

## 1. Interest Identification
Resource Adequacy Senior Task Force
Qualification and Accreditation - KWA 5
Interest Identification
Instructions: List interests of all parties on this page.
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20

## 2. Options Matrix- Design Comp.
Resource Adequacy Senior Task Force
Qualification and Accreditation - KWA 5
OPTIONS MATRIX
Solution Options2
# | Design Components1 | Priority | Status Quo | A | B | C | D | E
* | Implementation
Capacity Accreditation
1 | Unlimited Resources Generating units with the ability to operate continuously across all hours of an operating day without interruption if needed, including nuclear and fossil-fired steam units, combined cycle units, combustion turbine units, etc. (i.e. generation that is not an ELCC Resource) |  | Accredited capacity value Unforced Capacity (UCAP) = Installed Capacity (ICAP) * (1 - EFORd) ICAP is equal to summer net capability of the generating unit (capped at CIRs), which is determined based on generator site conditions coincident with the dates and times of the last 15 years PJM summer peaks. EFORd (Equivalent Demand Forced Outage Rate): Probability that a generator will fail in whole or in part when needed; Final EFORd based on 1 year of forced outage data from prior Oct. through Sept. period.
2 | ELCC Resources |  | Accredited capacity value Accredited UCAP is based on effective load carrying capability (ELCC) analysis. Includes a Generation Capacity Resource that is a Variable Resource, Limited Duration Resource, or a Combination Resource.
3 | ELCC Analysis Components
3A | Timing of ELCC Accreditation Process |  | Final ELCC Class UCAP and ELCC Class Rating values for use in the upcoming Delivery Year posted in an annual report (typically in Nov. ahead of calendar year). ELCC Ratings and ELCC Resource Performance Adjustment values from the analysis will apply to capacity provided in the upcoming Delivery Year, as well as to all auctions and activities executed in the following calendar year.
3B | Modeled Resource Mix |  | Generally, all resources that are expected to offer into the cpacity market for a given delivery year are modeled as providing capacity, whether or not they are expected to clear. Derived from vendor forecast and currently in-service units.
3C | ELCC Classes |  | ELCC Classes for Variable Resources: Traking Solar, Fixed-Tilt Solar, Onshore Wind, Offshore Wind, Landfill Gas, Intermittent Hydropower, Other Variable Resource Class ELCC Classes for Limited Duration Resources: The type of Capacity Storage Resource Classes, with different classes for 4, 6, 8, and 10-hour durations; The type of Other Limited Duration Resource Classes, with different classes for 4, 6, 8, and 10-hour durations. ELCC Classes for Combination Resources: The types of Hybrid Resource Classes, Hydropower with Non-Pumped Storage Class, Complex Hybrid Class, and the types of Other Limited Duration Combination Classes
3D | Consideration of Changing ELCC Values (e.g. Average vs. Marginal) |  | Average-Total ELCC "Delta Method" to allocate portfolio accredited UCAP to ELCC classes for calculating ELCC Class Rating.
3E | Development of Expected Output Profiles used in Model |  | Variable Resources: Based on aggregate historical hourly output of the variable resources since 2012 (actual curtailments considered as-is; backcasts for units not in service after 2012) Limited Duration Resources: Simulated hourly output based on physical capabilities and conditions in the simulation. Generally dispatched after thermals and variable resources and before DR (except the amount held off for operating reserves) when needed to meet hourly loads Combination Resources / Hydro with Non-Pumped Storage: Each unit is quite distinct relative to others in its class; Hourly output of each unit is simulated based on actual plant characteristics. Output of individial components generally follows above descriptions for variable and limited duration.
3F | Unit-Specific Performance Adjustment |  | Variable Resources: Ratio of unit's 200CPx2 to class 200CPx2 Limited Duration Resources: (1-EFORd) Hydro with Non-Pumped Storage: (1-EFORd) Combination Resources: Considered in individual components
3G | Unit-Specific Accredited UCAP |  | For Variable Resources and Limited Duration Resources: Accredited UCAP = Effective Nameplate Capacity (ENC) * ELCC Class Rating * ELCC Resource Performance Adjustment For Combination Resources: Accredited UCAP = Sum of the Accredited UCAP of each component, not to exceed MFO For hydro with non-pumped storage: Accredited UCAP = resource-specific ELCC rating * ICAP * (1-EFORd)
4 | Demand Resource |  | Accredited capacity value UCAP = ICAP * Forecast Pool Requirement (FPR) ICAP is equal to the sum of the nominated value of the underlying registrations linked to the DR. • For Annual DR, ICAP is set based on the lower of summer or winter nominated values • For Summer-Period DR, ICAP is set based on summer nominated value (that exceeds winter value)
5 | Energy Efficiency Resource |  | Accredited capacity value UCAP = ICAP * FPR ICAP is equal to the sum of the nominated value of the underlying energy efficiency projects. • For Annual EE, ICAP is set based on the lower of summer or winter nominated values • For Summer-Period EE, ICAP is set based on summer nominated value (that exceeds winter value)
6 | Price Responsive Demand |  | Accredited capacity value Effective UCAP value = Nominated PRD Value * FPR (participates on the demand-side in auctions as an adjustment to the VRR curve) Nominated PRD Value = PLC - (FSL * LossF)
7 | Qualifying Transmission Upgrade |  | Accredited capacity value UCAP = CETL increase (as certified by PJM)
Qualification Requirements
8 | Generation Capacity Resources |  | Generating facilities that meet the requirements of RAA, Schedule 9 (accredited as capacity) and RAA, Schedule 10 (deliverable) • Studied to be deliverable to PJM load (generation deliverability test) and has been granted / maintained Capacity Interconnection Rights (CIRs) • Submits required operating and maintenance information • Required testing is performed to verify net capability
8A | Planned Generation Capacity Resources - Internal |  | • Participating in the PJM interconnection queue with a planned start date of Interconnection Service on or before the start of DY • For participation in BRA, a Facilities Study Agreement has been executed if the unit is greater than 20 MW, or an Impact Study Agreement has been executed for units <= 20 MW • For participation in IA, an Interconnection Service Agreement (ISA), or Wholesale Market Participation Agreement (WMPA), has been executed • Sufficient collateral has been posted with PJM
8B | Existing Generation Capacity Resources - External |  | • A determination that the Pseudo-Tie required for the external Generation Capacity Resource is feasible (e.g. meets minimum Electrical Distance requirement, etc.) • For transmission outside PJM, obtains long-term firm point-to-point transmission service; for transmission within PJM, obtains Network External Designated Transmission Service • Outage reporting and testing requirements consistent with internal generation • Letter of non-recallability provided • Written commitment to be subject to same capacity must offer requirements as internal generation
8C | Planned Generation Capacity Resources - External |  | Qualification requirements generally consistent with external existing generation and planned internal generation • Must demonstrate it has executed an interconnection agreement (functionally equivalent to the required agreements for internal generation) • Must provide evidence to PJM it has been studied as a Network Resource, or such other similar interconnection product in the external Control Area.
9 | Demand Resources (DR) |  | A resource capable of providing a reduction in demand or otherwise control load in accordance with the requirements in RAA, Schedule 6 • DR must be registered in PJM's DR Hub system identifying customer-specific load management information (location, EDC account #, program type, etc.) prior to the DY • Must register in Pre-Emergency or Emergency Load Response Program • Annual DR must be available to reduce load for an unlimited number of interruptions during the DY during the hours of 10AM-10PM EPT (June-Oct, May) and 6AM-9PM EPT (Nov-Apr) • Summer-Period DR must be available to reduce load during the hours of 10AM-10PM EPT (June-Oct, May) • Able to be implemented within 30 min. of notification (or for qualified physical exceptions, have a 60 or 120 min. lead time) • Meet required reporting requirements (e.g. expected energy load reductions) • Perform necessary testing to verify load reduction capabilities For offering into an auction or commitment in FRR Plan: • A DR Sell Offer Plan must be provided that specifies existing DR to be sold or committed and expected to be under contract for future DY | [5 empty] | Low
9A | Planned DR |  | • Planned DR expected to be capable of reducing load and meeting requirements by the start of the future DY • Must be supported in a DR Sell Offer Plan with details of, and key assumptions underlying, the Planned DR quantities demonstrating reasonable expectation to physically deliver MW that clear • May require site-specific information and support when offers exceed threshold for certain zones of concern • Sufficient collateral has been posted with PJM | [5 empty] | Low - Medium
10 | Energy Efficiency (EE) Resources |  | A project, including installation of more efficient devices or equipment or implementation of more efficient processes or systems, meeting the requirements of RAA, Schedule 6 • Must be supported by a Post-Installation M&V Report prior to the DY • Must involve the installation or implementation of more efficient devices/equipment or processes that exceeds then-current relevant building codes or standards • Must achieve continuous load reduction (not dispatchable) at the customer site (during defined performance hours) that is not reflected in the peak load forecast prepared for the auction • Annual EE performance hours include the summer period (HE15-HE18 EPT during non-weekend/holidays Jun-Aug) and winter period (HE8-HE9 EPT and HE19-HE20 EPT Jan-Feb) • Summer-Period EE only include the summer period performance hours For offering into an auction or commitment in FRR Plan: • An EE M&V Plan is required that provides the details of the EE measures | [5 empty] | Low - High
10A | Planned EE Resources |  | • EE that is planned to be installed or implemented and meet the requirements of Existing EE for a future DY • Supported in M&V Plan to be offered in auction or included in FRR Plan • Sufficient collateral has been posted with PJM | [5 empty] | Medium
11 | Price Responsive Demand (PRD) |  | End-use customer load registered by a PRD Provider that can curtail load and meets the requirements of RAA, Schedule 6.1 • PRD must be registered in PJM's DR Hub system prior to DY with required information • Meets metering requirements (capable of recording at an interval of 1 hour or less) • Supervisory control capable of curtailing the load • Retail rate structure (or equivalent contractual arrangement), capable of changing retail rates as frequently as an hourly basis, that is linked to or based upon changes in RT LMPs at a PRD Substation level • Provides a predictable automated response to varying wholesale prices • Perform necessary testing to verify load reduction capabilities For offering into an auction or commitment in FRR Plan: • A PRD Plan must be provided that supports the PRD to be sold | [5 empty] | Medium - High
11A | Planned PRD |  | • PRD that is planned to be registered for a future DY • Supported in a PRD Plan to be offered in auction or included in FRR Plan • Sufficient collateral has been posted with PJM | [5 empty] | High
12 | Qualifying Transmission Upgrade (QTU) |  | A proposed enhancement to the Transmission System that has been certified by PJM to increase the CETL into an LDA prior to the auction. • Expected to be in service prior to the start of the relevant DY • FSA has been executed • Sufficient collateral has been posted with PJM
Eligibility for Capacity Types
13 | Annual Capacity Eligibility |  | The following types of Capacity Resources are eligible to submit a Sell Offer as annual capacity: an internal or external Generation Capacity Resource (incl. storage); an Annual Demand Resource; an Annual Energy Efficiency Resource; a Qualifying Transmission Upgrade; and a commerical aggregation of a winter+summer resource. Capacity Market Sellers that own one or more eligible seasonal resources may create and offer a (commercial) Aggregate Resource located in the smallest modeled LDA common to the underlying aggregated resources for a PJM approved unforced capacity value that satisfies the requirements of a Capacity Performance product. Expected to meet Capacity Performance obligations throughout the year for committed MW, but no prescriptive additional physical requirements in rules (e.g. no requirement to winterize plants).
14 | Seasonal Capacity Eligibility |  | A seasonal resource must have an average expected energy output during peak-hour periods of the applicable season consistently and measurably greater than its average expected energy output during the peak-hour periods of the other season. The following types of Capacity Resources are eligible to submit a Sell Offer as either a Summer-Period or as a Winter-Period Capacity Performance Resource: Capacity Storage Resource, Intermittent Resource, or Environmentally-Limited Resource. The following types of Capacity Resources are eligible to submit a Sell Offer as a Summer-Period Capacity Performance Resource: Summer Period Demand Resource and Summer-Period Energy Efficiency Resource. Winter CIRs may be requested and studied for a one-year period ahead of the BRA to support winter period sell offers and winter units used in Aggregate Resources.
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
Resource Adequacy Senior Task Force
Qualification and Accreditation - KWA 5
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component | Detailed Description
1 | <enter detailed description of this component>
2 | <enter detailed description of this component>
3 | <enter detailed description of this component>
4 | <enter detailed description of this component>
5 | <enter detailed description of this component>

## 2b. Option Details
Resource Adequacy Senior Task Force
Qualification and Accreditation - KWA 5
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Package Matrix
Resource Adequacy Senior Task Force
Qualification and Accreditation - KWA 5
PACKAGE/ PROPOSAL MATRIX
Packages
# | Design Components | Priority | Status Quo | A | B | C | D | E
1
2
3
4
5
6
7
8
9 | [8 empty] | Low
10 | [8 empty] | Low - Medium
Low - High
Medium
Instructions: | [8 empty] | Medium - High
1. Copy over design component, priority, and status quo columns from options matrix | [8 empty] | High
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3a. Package Details
Resource Adequacy Senior Task Force
Qualification and Accreditation - KWA 5
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
Resource Adequacy Senior Task Force
Qualification and Accreditation - KWA 5
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description

## Revision History
Resource Adequacy Senior Task Force
Qualification and Accreditation - KWA 5
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1 | 2022-05-25 | Interests and Design Components
2 | 2022-06-20 | Interests and Design Components
3