## Summary
MOPR Floor Offer Prices for 2017/2018 BRA ($/MW-Day in UCAP MW)
| Resource Type | Cone Area * | MOPR Floor Price
| Combustion Turbine | CONE Area 1 | 355.82
|  | CONE Area 2 | 313
|  | CONE Area 3 | 344.07
|  | CONE Area 4 | 354.46
|  | CONE Area 5 | 289.95
| Combined Cycle | CONE Area 1 | 309.61
|  | CONE Area 2 | 220.8
|  | CONE Area 3 | 321.79
|  | CONE Area 4 | 297.63
|  | CONE Area 5 | 251.64
| Integrated Gasification Combined Cycle | CONE Area 1 | 1569.97
|  | CONE Area 2 | 1480.54
| (IGCC) | CONE Area 3 | 1552.23
|  | CONE Area 4 | 1470.89
|  | CONE Area 5 | 1520.62
* | CONE Area 1 includes the following Transmission Zones: |  | AE, DPL, JCPL, PECO, PSEG, RECO
| CONE Area 2 includes the following Transmission Zones: |  | BGE, PEPCO
| CONE Area 3 includes the following Transmission Zones: |  | AEP, APS, ATSI, ComEd, Dayton, DEOK, Duquense
| CONE Area 4 includes the following Transmission Zones: |  | MetEd, Penelec, PPL
| CONE Area 5 includes the following Transmission Zones: |  | Dominion
DOCS #774091 V2

## Final MOPR Screen
MOPR Floor Offer Prices for 2017/2018 RPM Base Residual Auction
ICAP to UCAP Conversion Factor:
UCAP Price = ICAP Price/(1 - Pool-Wide Average EFORd)
Pool-Wide Average EFORd for 2017/2018 = | 5.65%
CONE Area 1: AE, DPL, JCPL, PECO, PS, RECO
CONE Area 2: BGE, PEPCO
CONE Area 3: AEP, APS, ATSI, ComEd, Dayton, DEOK, Duquesne, EKPC
CONE Area 4: MetEd, Penelec, PPL
CONE Area 5: Dominion
Combustion Turbine
| CONE Area 1 | CONE Area 2 | CONE Area 3 | CONE Area 4 | CONE Area 5
Benchmark CONE (2016/2017 BRA Value): Levelized Revenue Requirement, $/MW-Year | 152460 | 142223.4 | 139485 | 146470.5 | 124919.5
12 Months Handy Whitman Index (July 1, 2013) | 2.9% | 2.9% | 3% | 2.9% | 2.9%
Region basis for the Handy Whitman Index | North Atlantic | North Atlantic | North Central | North Atlantic | South Atlantic
2017/2018 BRA CONE, escalated by Handy Whitman Index, $/MW-Year | 156881.34 | 146347.8786 | 143669.55 | 150718.1445 | 128542.1655
Zone in the CONE Area with highest energy revenue | DPL | BGE | APS | MetEd | Dominion
Historic (2011-2013) Net Energy Revenue Offset for the Zone with highest energy revenues in the CONE Area, $/MW-Year | 32145.99 | 36360.15 | 22979.51 | 26451.99 | 26492.28
Ancillary Services Offset, $/MW-Year per Tariff | 2199 | 2199 | 2199 | 2199 | 2199
Net CONE, $/MW-Day, ICAP Price | 335.716 | 295.3116 | 324.633 | 334.4306 | 273.5641
Net CONE, $/MW-Day, UCAP Price | 355.82 | 313 | 344.07 | 354.46 | 289.95
MOPR Floor Offer Price for Combustion Turbine: 100% Net CONE, $/MW-Day, UCAP Price | 355.82 | 313 | 344.07 | 354.46 | 289.95
Combined Cycle
| CONE Area 1 | CONE Area 2 | CONE Area 3 | CONE Area 4 | CONE Area 5
Benchmark CONE (2016/2017 BRA Value): Levelized Revenue Requirement, $/MW-Year | 188397 | 166181.4 | 181604 | 180774 | 160377
12 Months Handy Whitman Index (July 1, 2013) | 2.9% | 2.9% | 3% | 2.9% | 2.9%
Region basis for the Handy Whitman Index | North Atlantic | North Atlantic | North Central | North Atlantic | South Atlantic
2017/2018 BRA CONE, escalated by Handy Whitman Index, $/MW-Year | 193860.513 | 171000.6606 | 187052.12 | 186016.446 | 165027.933
Zone in the CONE Area with highest energy revenue | DPL | BGE | APS | PENELEC | Dominion
Historic (2011-2013) Net Energy Revenue Offset for the Zone with highest energy revenues in the CONE Area, $/MW-Year | 84041.27 | 91763.85 | 73036.59 | 80320.57 | 75169.91
Ancillary Services Offset, $/MW-Year per Tariff | 3198 | 3198 | 3198 | 3198 | 3198
Net CONE, $/MW-Day, ICAP Price | 292.113 | 208.3255 | 303.6097 | 280.8161 | 237.4247
Net CONE, $/MW-Day, UCAP Price | 309.61 | 220.8 | 321.79 | 297.63 | 251.64
MOPR Floor Offer Prices for Combined Cycle: 100% Net CONE, $/MW-Day, UCAP Price | 309.61 | 220.8 | 321.79 | 297.63 | 251.64
Integrated Gasification Combined Cycle (IGCC)
| CONE Area 1 | CONE Area 2 | CONE Area 3 | CONE Area 4 | CONE Area 5
Benchmark CONE (2016/2017 BRA Value): Levelized Revenue Requirement, $/MW-Year | 633843.738 | 608191.254 | 598680.56 | 585126.234 | 591113.619
12 Months Handy Whitman Index (July 1, 2013) | 2.9% | 2.9% | 3% | 2.9% | 2.9%
Region basis for the Handy Whitman Index | North Atlantic | North Atlantic | North Central | North Atlantic | South Atlantic
2017/2018 BRA CONE, escalated by Handy Whitman Index, $/MW-Year | 652225.2064 | 625828.8004 | 616640.9768 | 602094.8948 | 608255.914
Zone in the CONE Area with highest energy revenue | PSEG | BGE | APS | MetEd | Dominion
Historic (2011-2013) Net Energy Revenue Offset for the Zone with highest energy revenues in the CONE Area, $/MW-Year | 108366.53 | 112765.14 | 78889.94 | 92356.15 | 81391.66
Ancillary Services Offset, $/MW-Year per Tariff | 3198 | 3198 | 3198 | 3198 | 3198
Net CONE, $/MW-Day, ICAP Price | 1481.2621 | 1396.8922 | 1464.5289 | 1387.7829 | 1434.7021
Net CONE, $/MW-Day, UCAP Price | 1569.97 | 1480.54 | 1552.23 | 1470.89 | 1520.62
MOPR Floor Offer Prices for IGCC: 100% Net CONE, $/MW-Day, UCAP Price | 1569.97 | 1480.54 | 1552.23 | 1470.89 | 1520.62